## TENDER_ITEM_UPLOAD
To enable entering data into the sheet, please click on 'Enable Editing'.
Please insert items from 12th row.
Every row will be considered as a distinct item.
The row, in which the two fields- 'Item Code' and 'Description' are blank, will not be considered.
If 'CREDIT ITEM' is not entered, default value '0' will be taken.
If 'Calc Field' is not entered, default value 'N' will be taken.
MAX ITEM LIMIT IN EACH EXCEL FILE IS 1000
SERIAL No. | Department | SOR | Year | Item Code | Description | UOM | Rate | Quantity | Amount | Ref Serial No | CREDIT ITEM (0/1) | Calc Field(Y/N) | Offset/Reserve Price | EMD Amount
1 | MMSSKM | NS | 2024 | 3798 | AINT- 02C CARD FOR VFD MAKE - ABB/DANFOSS/SIEMENS | NO |  | 1 | 0
2 | MMSSKM | NS | 2024 | 3801 | RMIO CARD FOR VFD MAKE - ABB/DANFOSS/SIEMENS | NO |  | 2 | 0
3 | MMSSKM | NS | 2024 | 3803 | RINT CARD 5611 C FOR VFD MAKE - ABB/DANFOSS/SIEMENS | NO |  | 1 | 0
4 | MMSSKM | NS | 2024 | 4568 | CON-2 CARD FOR C/F DRIVE MAKE - ABB/DANFOSS/SIEMENS | NO |  | 2 | 0
5 | MMSSKM | NS | 2024 | 6144 | VFD (VARIABLE FREQUENCY DRIVE) - 90 KW, MAKE - ABB/DANFOSS/SIEMENS | NO |  | 1 | 0
6 | MMSSKM | NS | 2024 | 6149 | ABB TIMER MODEL-CT-AHE OFF DELAY WITH AUX SUPPLY TIME RELAY, RANGE 3 SEC- 30 SEC, A1/A2 - 220-230V AC, AIN2 CONTROL CONTACTS. MAKE - ABB/DANFOSS/SIEMENS | NO |  | 2 | 0
7 | MMSSKM | NS | 2024 | 6589 | RIBBON CABLE IGBT TO AINT CARD ACS 800 VFD MAKE - ABB/DANFOSS/SIEMENS | SET |  | 1 | 0
8 | MMSSKM | NS | 2024 | 6591 | RIBBON CABLE FOR DCS 800 C/F DRIVE MAKE - ABB/DANFOSS/SIEMENS | SET |  | 1 | 0
9 | MMSSKM | NS | 2024 | 6597 | CONTROL CARD CON-4 FOR MILL & C/F DRIVE MAKE - ABB/DANFOSS/SIEMENS | NO |  | 1 | 0
10 | MMSSKM | NS | 2024 | 7094 | SDCS POWER CARD FOR MILL DRIVE MAKE - ABB/DANFOSS/SIEMENS | NO |  | 4 | 0
11 | MMSSKM | NS | 2024 | 8783 | AMC , SERVICING AND OVERHAULING OF POWER HOUSE ACB 2000A, (PCC3/4) OVER HAULING & SERVICING & TRAIL. MAKE -ABB/SEIMENS/MITSUBISH | NO |  | 3 | 0
12 | MMSSKM | NS | 2024 | 8784 | AMC , SERVICING AND OVERHAULING OF POWER HOUSE H.T. DISTRIBUTION VCB 800A PANEL OVERHOULING & SERVICING & TRIAL. MAKE - ABB/SEIMENS/MITSUBISHI /CROMPTON GREAVES | NO |  | 1 | 0
13 | MMSSKM | NS | 2024 | 8785 | AMC , SERVICING AND OVERHAULING OF POWER HOUSE H.T. DISTRIBUTION VCB 400A, PANEL OVERHOULING & SERVICING & TRAIL MAKE - ABB/SEIMENS /MITSUBISHI /CROMPTON GREAVES | NO |  | 3 | 0
14 | MMSSKM | NS | 2024 | 8786 | AMC , SERVICING AND OVERHAULING OF POWER HOUSE H.T. MAIN INCOMMER 6 MW 1250A, VCB PANEL OVERHOULING & SERVICING & TRIAL. MAKE - ABB/SEIMENS/MITSUBISHI | NO |  | 1 | 0
15 | MMSSKM | NS | 2024 | 8787 | AMC OF D.G.SETS. 625 KVA / UTA-25-G5-1 SERVICE P.A. MAKE INCHCUMINSINCH JAKSON MAKE - CUMMINS JACKSON | NO |  | 1 | 0
16 | MMSSKM | NS | 2024 | 8788 | AMC OF D.G.SETS. 320 KVA / NTA-855-G2-1 SERVICE P.A. MAKE - CUMMINS JACKSON | NO |  | 1 | 0
17 | MMSSKM | NS | 2024 | 8789 | AMC OF D.G.SETS 125 KVA / 6BTAA S-9-G3 SERVICE P.A. . MAKE - CUMMINS JACKSON | NO |  | 1 | 0
18 | MMSSKM | NS | 2024 | 8790 | AMC OF D.G.SETS 25 KVA SX - 3 SERVICE P.A. MAKE - CUMMINS JACKSON | NO |  | 1 | 0
19 | MMSSKM | NS | 2024 | 8803 | AMC SERVICING OF TRIVENI TURBINE AND ALTERNATOR ,SEASON/OFF SEASON | NO |  | 1 | 0
20 | MMSSKM | NS | 2024 | 8993 | Installization of Mechanical Circulator in 80 MT Pan & trail and Testing Lumsum Mechanical Circulator for Pan(80 Ton):- Specification- Motor 45 KW/STD/IE2 Motor.RPM-52 RPM.Impeller -Wide Blade Hydraulic 1875 mm.MOC-40 gm, Electrical Panel with Complete System. MAKE - SPRAY ENGGENERRING / ENVISION ENGINEERING SOLUTION / UTTAM ENGG. | NO |  | 1 | 0
21 | MMSSKM | NS | 2024 | 9721 | SS BODY FOR MELTER, MODEL - UMHQ 50/32, 1450 RPM, CAP.- 30 M3/HR,MWC - 30 MTR, ,SUCTION - 100 MM,DELIVERY - 50 MM, MAKE- SINTECH | NO |  | 1 | 0
22 | MMSSKM | NS | 2024 | 9723 | HOUSING FOR PUMP, MODEL - SWP - 40/320, CAP.- 18 M3/HR, MWC - 30 MTR,SUCTION - 65 MM,DELIVERY - 40 MM, MAKE- SINTECH | NO |  | 1 | 0
23 | MMSSKM | NS | 2024 | 9728 | HOT WATER PUMP (VERTICLE CRYSTLIZER SIDE) MODEL-SWP 65/320, W.O-16/27/05/08, CAPACITY-50M3/HR., MWC-30, MOTOR-9.3KW, SPEED-1440RPM, SUCTION-100 MM, DELIVERY-65 MM. S.S. SHAFT MAKE - SINTECH | NO |  | 1 | 0
24 | MMSSKM | NS | 2024 | 9729 | S.S. IMPELLER FOR MUD PUMP. MODEL- SSHQ 50/260, NO. -16/27/05/08, Sr. No.- 6863, 6862, CAPACITY-50M3/HR., MWC-18,SPEED-1450 RPM SUCTION-80 MM, DELIVERY-50 MM. MAKE - SINTECH | NO |  | 2 | 0
25 | MMSSKM | NS | 2024 | 9731 | S.S. IMPELLER FOR SEMIKESTNER CONDENSATE PUMP & VAPOUR CELL, MODEL- SWP - 65/320, CAPACITY - 50 M3/HR., MOTOR - 11 KW, MWC- 30, SPEED- 1445 RPM, SUCTION- 100 MM, DELIVERY - 65 MM.MAKE - SINTECH | NO |  | 4 | 0
26 | MMSSKM | NS | 2024 | 9732 | S.S. IMPELLER FOR SULPHERED SYRUP PUMP. MODEL- UMHQ 65/320, CAPACITY- 45 M3/HR. MWC-15, MOTOR- 15KW, SPEED 1450 RPM, SUCTION - 125 MM, DELIVERY-65. MAKE - SINTECH | NO |  | 4 | 0
27 | MMSSKM | NS | 2024 | 9733 | S.S. SLEEVE FOR SEMIKESTNER CONDENSATE PUMP & VAPOUR CELL, MODEL- SWP - 65/320, CAPACITY - 50 M3/HR., MOTOR - 11 KW, MWC- 30, SPEED- 1445 RPM, SUCTION- 100 MM, DELIVERY - 65 MM. MAKE - SINTECH | NO |  | 2 | 0
28 | MMSSKM | NS | 2024 | 9737 | PUMP HOUSING (C.I.) FOR QUWARD CONDENSATE PUMP MODEL NO- SWP-50/320, CAP- 30M3/HR, MWC- 30 MTR,SECTION - 80 MM,DELEVARY - 50 MM MAKE - SINTECH | NO |  | 2 | 0
29 | MMSSKM | NS | 2024 | 9738 | PUMP HOUSING (C.I.) FOR QUWARD CONDENSATE PUMP MODEL NO- SWP-40/320, CAP- 18M3/HR, MWC- 30 MTR,SECTION - 65 MM,DELEVARY - 40 MM , MAKE - SINTECH | NO |  | 2 | 0
30 | MMSSKM | NS | 2024 | 9739 | HOT WATER PUMP (VERTICLE CRYSTLIZER SIDE) MODEL-SWP 65/320, W.O-16/27/05/08, CAPACITY-50M3/HR., MWC-30, MOTOR-9.3KW, SPEED-1440RPM, SUCTION-100 MM, DELIVERY-65 MM. S.S. SLEEVE MAKE - SINTECH | NO |  | 2 | 0
31 | MMSSKM | NS | 2024 | 9741 | S.S. SLEEVE FOR COLD WATER PUMP. MODEL NO.- SWP-125/320, CAPACITY- 190M3/HR, MWC-30, SUCTION - 150 MM, DELIVERY-125 MM. MAKE - SINTECH | NO |  | 2 | 0
32 | MMSSKM | NS | 2024 | 9742 | S.S. SHAFT FOR COLD WATER PUMP. MODEL NO.- SWP-125/320, CAPACITY- 190M3/HR, MWC-30, SUCTION - 150 MM, DELIVERY-125 MM. MAKE - SINTECH | NO |  | 1 | 0
33 | MMSSKM | NS | 2024 | 9743 | S.S. IMPELLER FOR COLD WATER PUMP. MODEL NO.- SWP-125/320, CAPACITY- 190M3/HR, MWC-30, SUCTION - 150 MM, DELIVERY-125 MM. MAKE - SINTECH | NO |  | 1 | 0
34 | MMSSKM | NS | 2024 | 9744 | S.S. SHAFT FOR SCRREND JUICE PUMP MODEL NO. - CPS 150/500, CAPACITY - 150 M3/HR, MWC - 60, SUNCTION - 200 MM, DELIVERY - 150 MM, MAKE - SINTECH | NO |  | 2 | 0
35 | MMSSKM | NS | 2024 | 9745 | S.S. SLEEVE FOR SCRREND JUICE PUMP MODEL NO. - CPS 150/500, CAPACITY - 150 M3/HR, MWC - 60, SUCTION - 200 MM, DELIVERY - 150 MM, MAKE - SINTECH | NO |  | 4 | 0
36 | MMSSKM | NS | 2024 | 9746 | S.S. IMPELLER SLEEVE FOR SCRREND JUICE PUMP MODEL NO. - CPS 150/500, CAPACITY - 150 M3/HR, MWC - 60, SUCTION - 200 MM, DELIVERY - 150 MM, MAKE - SINTECH | NO |  | 2 | 0
37 | MMSSKM | NS | 2024 | 9747 | SS BODY FOR MUD PUMP MODEL - SSHQ-50/26,CAPA - 50 M3/HR,MWC - 18 ,SUCTION-80 MM,DELEVERY - 50 MM, MAKE - SINTECH | NO |  | 2 | 0
38 | MMSSKM | NS | 2024 | 9748 | SS WEAR PLATE FOR MUD PUMP MODEL - SSHQ-50/26,CAPA - 50 M3/HR,MWC - 18 ,SUCTION-80 MM,DELEVERY - 50 MM, MAKE - SINTECH | NO |  | 2 | 0
39 | MMSSKM | NS | 2024 | 9749 | SS SLEEV FOR MUD PUMP MODEL - SSHQ-50/26,CAPA - 50 M3/HR,MWC - 18 ,SUCTION-80 MM,DELEVERY - 50 MM, MAKE - SINTECH | NO |  | 4 | 0
40 | MMSSKM | NS | 2024 | 9751 | SS IMPELLOR FOR MODEL - CPS - 100/450,CAPA - 150 M3/HR,MWC - 70 ,MOTOR - 55 KW ,RPM - 1450 ,SUCTION-150 MM,DELEVERY - 100 MM,WITH MOTOR MAKE - SINTECH | NO |  | 2 | 0
41 | MMSSKM | NS | 2024 | 9752 | FILTRATE PUMPS. MODEL-CPS 65/260, CAPACITY-50M3/HR. , MWC-20, MOTOR- 7.5 KW, SPEED-1450 RPM, SUCTION-100 MM, DELIVERY-65 MM. S.S. SHAFT MAKE - SINTECH | NO |  | 2 | 0
42 | MMSSKM | NS | 2024 | 9753 | FILTRATE PUMPS. MODEL-CPS 65/260, CAPACITY-50M3/HR. , MWC-20, MOTOR- 7.5 KW, SPEED-1450 RPM, SUCTION-100 MM, DELIVERY-65 MM. S.S. IMPELLER MAKE - SINTECH | NO |  | 4 | 0
43 | MMSSKM | NS | 2024 | 9754 | J.H.CONDENSATE PUMP. MODEL -SWP 40/320, CAPACITY - 15M3/HR./ MWC- 30, SUCTION-65 MM, DELIVERY - 40 MM. S.S. SLEEVE MAKE - SINTECH | NO |  | 4 | 0
44 | MMSSKM | NS | 2024 | 9755 | SULPHITED JUICE PUMP. MODEL- CPS 100/450, CAPACITY-150M3/HR., MWC-70, RPM-1450, SUCTION-150 MM , DELIVERY-100 MM. S.S. SHAFT MAKE - SINTECH | NO |  | 2 | 0
45 | MMSSKM | NS | 2024 | 9756 | SULPHITED JUICE PUMP. MODEL- CPS 100/450, CAPACITY-150M3/HR., MWC-70, RPM-1450, SUCTION-150 MM , DELIVERY-100 MM. S.S. SLEEVE MAKE - SINTECH | NO |  | 1 | 0
46 | MMSSKM | NS | 2024 | 9758 | CLEAR JUICE PUMP MODEL N0. - CPS - 100/320 CAPACITY - 150 M3/HR, MWC - 30, RPM-1450, SUNCTION - 125 MM DELIVERY - 100 MM. S.S. BODY MAKE - SINTECH | NO |  | 1 | 0
47 | MMSSKM | NS | 2024 | 9759 | CLEAR JUICE PUMP MODEL N0. - CPS - 100/320 CAPACITY - 150 M3/HR, MWC - 30, RPM-1450, SUNCTION - 125 MM DELIVERY - 100 MM. S.S. SHAFT MAKE - SINTECH | NO |  | 1 | 0
48 | MMSSKM | NS | 2024 | 9760 | CLEAR JUICE PUMP MODEL N0. - CPS - 100/320 CAPACITY - 150 M3/HR, MWC - 30, RPM-1450, SUNCTION - 125 MM DELIVERY - 100 MM. S.S. WEAR PLATE MAKE - SINTECH | NO |  | 1 | 0
49 | MMSSKM | NS | 2024 | 9761 | S.S IMPELLOR SULPHITED JUICE PUMP CAPACITY- 100/450/150M3/HR MWC - 70, RPM- 1450, SUCTION -150 MM DELIVERY - 100 MM, MAKE SINTECH | NO |  | 1 | 0
50 | MMSSKM | NS | 2024 | 9762 | CLEAR JUICE PUMP MODEL N0. - CPS - 100/320 CAPACITY - 150 M3/HR, MWC - 30, RPM-1450, SUNCTION - 125 MM DELIVERY - 100 MM. S.S. SLEEVE MAKE - SINTECH | NO |  | 2 | 0
51 | MMSSKM | NS | 2024 | 9764 | S.S. SHAFT FOR LIME PUMP, MODEL-STF 50/32, CAPACITY - 6 M3/HR, MWC-20, SUCTION -65 MM, DELIVERY- 50 MM. MAKE - SINTECH | NO |  | 1 | 0
52 | MMSSKM | NS | 2024 | 9765 | S.S. SLEEVE FOR LIME PUMP, MODEL-STF 50/32, CAPACITY - 6 M3/HR, MWC-20, SUCTION -65 MM, DELIVERY- 50 MM. MAKE - SINTECH | NO |  | 1 | 0
53 | MMSSKM | NS | 2024 | 9766 | S.S. SHAFT FOR MUD PUMP. MODEL- SSHQ 50/26, NO. -16/27/05/08, Sr. No.- 6863, 6862, CAPACITY-50M3/HR., MWC-18,SPEED-1450 RPM SUCTION-80 MM, DELIVERY-50 MM. MAKE - SINTECH | NO |  | 2 | 0
54 | MMSSKM | NS | 2024 | 9767 | S.S. SLEEVE FOR MUD PUMP. MODEL- SSHQ 50/26, NO. -16/27/05/08, Sr. No.- 6863, 6862, CAPACITY-50M3/HR., MWC-18,SPEED-1450 RPM SUCTION-80 MM, DELIVERY-50 MM. MAKE - SINTECH | NO |  | 1 | 0
55 | MMSSKM | NS | 2024 | 9768 | S.S. BODY FOR MUD PUMP. MODEL- SSHQ 50/26, NO. -16/27/05/08, Sr. No.- 6863, 6862, CAPACITY-50M3/HR., MWC-18,SPEED-1450 RPM SUCTION-80 MM, DELIVERY-50 MM. MAKE - SINTECH | NO |  | 2 | 0
56 | MMSSKM | NS | 2024 | 9770 | S.S. BODY FOR MUD PUMP. MODEL- SSHQ 50/26, NO. -16/27/05/08, Sr. No.- 6863, 6862, CAPACITY-50M3/HR., MWC-18,SPEED-1450 RPM SUCTION-80 MM, DELIVERY-50 MM. MAKE - SINTECH | NO |  | 1 | 0
57 | MMSSKM | NS | 2024 | 9771 | S.S. SHAFT FOR FILTRATE PUMPS. MODEL-OPS 65/260, CAPACITY-50M3/HR. , MWC-20, MOTOR- 7.5 KW, SPEED-1450 RPM, SUCTION-100 MM, DELIVERY-65 MM. MAKE - SINTECH | NO |  | 1 | 0
58 | MMSSKM | NS | 2024 | 9772 | S.S. BODY FOR FILTRATE PUMPS. MODEL-OPS 65/260, CAPACITY-50M3/HR. , MWC-20, MOTOR- 7.5 KW, SPEED-1450 RPM, SUCTION-100 MM, DELIVERY-65 MM. MAKE - SINTECH | NO |  | 1 | 0
59 | MMSSKM | NS | 2024 | 9773 | S.S. WEAR PLATE FOR FILTRATE PUMPS. MODEL-OPS 65/260, CAPACITY-50M3/HR. , MWC-20, MOTOR- 7.5 KW, SPEED-1450 RPM, SUCTION-100 MM, DELIVERY-65 MM. MAKE - SINTECH | NO |  | 1 | 0
60 | MMSSKM | NS | 2024 | 9774 | S.S. SLEEVE FOR FILTRATE PUMPS. MODEL-OPS 65/260, CAPACITY-50M3/HR. , MWC-20, MOTOR- 7.5 KW, SPEED-1450 RPM, SUCTION-100 MM, DELIVERY-65 MM. MAKE - SINTECH | NO |  | 2 | 0
61 | MMSSKM | NS | 2024 | 9776 | S.S. SHAFT FOR VACCUM FILTER CAKE WASH PUMP. CPS 40/16, CAPACITY - 20 M3/HR. MWC-40, MOTOR - 7.5KW, SPEED- 2900 RPM, SUCTION-65 MM, DELIVERY- 40 MM. MAKE - SINTECH | NO |  | 1 | 0
62 | MMSSKM | NS | 2024 | 9777 | S.S. SLEEVE FOR VACCUM FILTER CAKE WASH PUMP. CPS 40/16, CAPACITY - 20 M3/HR. MWC-40, MOTOR - 7.5KW, SPEED- 2900 RPM, SUCTION-65 MM, DELIVERY- 40 MM. MAKE - SINTECH | NO |  | 2 | 0
63 | MMSSKM | NS | 2024 | 9778 | S.S. SLEEVE FOR 3rd BODY EVAPORATOR CONDENSATE PUMP , CAPACITY- 30 M3/HR. MWC-30, SUCTION- 80MM, DELIVERY- 50MM, SPEED- 1450 RPM. MAKE - SINTECH | NO |  | 1 | 0
64 | MMSSKM | NS | 2024 | 9780 | S.S. SLEEVE FOR 4th & 5th BODY EVAPORATOR CONDENSATE PUMP , MODEL- SWP - 40/320, CAPACITY- 18 M3/HR. MWC-30, MOTOR- 5.5 KW, SPEED- 1450 RPM, SUCTION- 65 MM, DELIVERY- 40 MM. MAKE - SINTECH | NO |  | 2 | 0
65 | MMSSKM | NS | 2024 | 9782 | S.S. SHAFT FOR SULPHERED SYRUP PUMP. MODEL- UMHQ 65/32, CAPACITY- 45 M3/HR. MWC-15, MOTOR- 15KW, SPEED 1450 RPM, SUCTION - 125 MM, DELIVERY-65. MAKE - SINTECH | NO |  | 1 | 0
66 | MMSSKM | NS | 2024 | 9783 | S.S. SLEEVE FOR SULPHERED SYRUP PUMP. MODEL- UMHQ 65/32, CAPACITY- 45 M3/HR. MWC-15, MOTOR- 15KW, SPEED 1450 RPM, SUCTION - 125 MM, DELIVERY-65. MAKE - SINTECH | NO |  | 2 | 0
67 | MMSSKM | NS | 2024 | 9785 | S.S.SHAFT FOR PAN CONDENSATE PUMP, CAPACITY-50 M3/HR., MODEL-SWP 65/320, MWC-30, SUCTION-100 MM, DELIVERY-65 MM, MOTOR-9.3KW, SPEED- 1450 RPM. MAKE - SINTECH | NO |  | 1 | 0
68 | MMSSKM | NS | 2024 | 9787 | S.S. SLEEVE FOR PAN CONDENSATE PUMP, CAPACITY-50 M3/HR., MODEL-SWP65/320, MWC-30, SUCTION-100 MM, DELIVERY-65 MM, MOTOR-9.3KW, SPEED- 1450 RPM. MAKE - SINTECH | NO |  | 3 | 0
69 | MMSSKM | NS | 2024 | 9788 | S.S. SHAFT FOR INJECTION PUMP (SMALL), MAKE CPS 200/320, CAPACITY- 450 M3/HR. MWC-17, MOTOR-37 KW. SPEED- 1470 RPM, SUCTION- 250 MM, DELIVERY- 200 MM. MAKE - SINTECH | NO |  | 1 | 0
70 | MMSSKM | NS | 2024 | 9790 | S.S. SLEEVE FOR INJECTION PUMP (SMALL), MAKE CPS 200/320, CAPACITY- 450 M3/HR. MWC-17, MOTOR-37 KW. SPEED- 1470 RPM, SUCTION- 250 MM, DELIVERY- 200 MM. MAKE - SINTECH | NO |  | 1 | 0
71 | MMSSKM | NS | 2024 | 9791 | S.S. SLEEVE FORBIG INJECTION PUMP. MODEL- SMF 35/35, CAPACITY- 1200 M3/HR., MWC-17, MOTOR 90 KW, SPEED- 980 RPM, SUCTION- 350 MM, DELIVERY-350 MM. MAKE - SINTECH | NO |  | 3 | 0
72 | MMSSKM | NS | 2024 | 9793 | S.S. SHAFT FOR BIG INJECTION PUMP. MODEL- SMF 35/35, CAPACITY- 1200 M3/HR., MWC-17, MOTOR 90 KW, SPEED- 980 RPM, SUCTION- 350 MM, DELIVERY-350 MM. MAKE - SINTECH | NO |  | 2 | 0
73 | MMSSKM | NS | 2024 | 9794 | WEIGHT BALANCING SPRING FOR BIG INJECTION PUMP. MODEL- SMF 35/35, CAPACITY- 1200 M3/HR., MWC-17, MOTOR 90 KW, SPEED- 980 RPM, SUCTION- 350 MM, DELIVERY-350 MM. MAKE - SINTECH | NO |  | 12 | 0
74 | MMSSKM | NS | 2024 | 9795 | SERVICE WATER PUMP. W.O-16/027/05/08, MODEL-SWP 125/32, CAPACITY-200M3/ HR. MWC- 30, SPEED-1450 RPM, SUCTION-150 MM, DELIVERY-125 MM. S.S. SHAFT MAKE - SINTECH | NO |  | 1 | 0
75 | MMSSKM | NS | 2024 | 9796 | S/S/SLEEVE FOR SERVICE WATER PUMP. W.O-16/027/05/08, MODEL-SWP 125/32, CAPACITY-200M3/ HR. MWC- 30, SPEED-1450 RPM, SUCTION-150 MM, DELIVERY-125 MM. MAKE - SINTECH | NO |  | 2 | 0
76 | MMSSKM | NS | 2024 | 9799 | S.S. SHAFT FOR SPRAY PUMP, MODEL- SMF 40/45, CAPACITY- 2600 M3/HR., MOTOR-132KW, SPEED- 980RPM, SUCTION- 450 MM, DELIVERY- 400 MM. MAKE - SINTECH | NO |  | 1 | 0
77 | MMSSKM | NS | 2024 | 9800 | WEIGHT BALANCING SPRING FOR SPRAY PUMP, MODEL- SMF 40/45, CAPACITY- 2600 M3/HR., MOTOR-132KW, SPEED- 980RPM, SUCTION- 450 MM, DELIVERY- 400 MM. . MAKE - SINTECH | NO |  | 10 | 0
78 | MMSSKM | NS | 2024 | 9803 | S.S. SHAFT FOR MODEL CPS 32/260, Sr. No.- 8234, CAPACITY -20M3/HR.,W.O -11/CPS-D-0039 SUCTION-50 MM, DELIVERY - 32 MM. MAKE - SINTECH | NO |  | 1 | 0
79 | MMSSKM | NS | 2024 | 9804 | MODEL CPS 32/260, Sr. No.- 8234, CAPACITY -20M3/HR.,W.O -11/CPS-D-0039 SUCTION-50 MM, DELIVERY - 32 MM. S.S. WEAR PLATE MAKE - SINTECH | NO |  | 1 | 0
80 | MMSSKM | NS | 2024 | 9805 | MODEL CPS 32/260, Sr. No.- 8234, CAPACITY -20M3/HR.,W.O -11/CPS-D-0039 SUCTION-50 MM, DELIVERY - 32 MM. S.S. SLEEVE MAKE - SINTECH | NO |  | 2 | 0
81 | MMSSKM | NS | 2024 | 9906 | S.S. SLEEVE FOR SPRAY PUMP, MODEL- SMF 40/45, CAPACITY- 2600 M3/HR., MOTOR-132KW, SPEED- 980RPM, SUCTION- 450 MM, DELIVERY- 400 MM. MAKE - SINTECH | NO |  | 2 | 0
82 | MMSSKM | NS | 2024 | 9926 | RINT CARD 5611 C FOR VFD MAKE - ABB/DANFOSS/SIEMENS | NO |  | 1 | 0
83 | MMSSKM | NS | 2024 | 9930 | RMIO CARD FOR VFD MAKE - ABB/DANFOSS/SIEMENS | NO |  | 2 | 0
84 | MMSSKM | NS | 2024 | 9932 | TIMER BLOCK FOR A9---75 TP401A 0.1-40 SEC. MAKE - ABB/DANFOSS/SIEMENS | NO |  | 2 | 0
85 | MMSSKM | NS | 2024 | 9934 | DCS 800M DCS-ABB IO'S HARDWARE FOR - AI-40, AO-24, DI-48, DO-24, MAKE - ABB/DANFOSS/SIEMENS | SET |  | 1 | 0
86 | MMSSKM | NS | 2024 | 9935 | VFD (VARIABLE FREQUENCY DRIVE) 55 KW, MAKE - ABB/DANFOSS/SIEMENS | NO |  | 1 | 0
87 | MMSSKM | NS | 2024 | 10000 | SUPPLY, ERECTION AND COMMISSIONING OF FURNACE PRESSURE TRANSMITTER AND ERECTION HARDWARE, MAKE - ABB/DANFOSS/SIEMENS | SET |  | 1 | 0
88 | MMSSKM | NS | 2024 | 10066 | RMBA-01 MUD BUS FOR C/F DRIVE MAKE - ABB/DANFOSS/SIEMENS | NO |  | 2 | 0
89 | MMSSKM | NS | 2024 | 10116 | THERMISTER FOR C/F DRIVE MAKE - ABB/DANFOSS/SIEMENS | NO |  | 1 | 0
90 | MMSSKM | NS | 2024 | 10163 | SCOPE OF SUPPLY : DESIGN, MANUFACTURING, SUPPLY, ERECTION & COMMISSIONING OF GRPF SYSTEM FOR MILL Ø33"X66" 1. GRPF ROLLERS WILL BE OF OUTSIDE DIAMETER 910 MM & 1700 MM SHELL LENGTH. 2. THE GRPF TOP & BOTTOM ROLLER WILL BE OF COARSE GRAIN CI SHELL SHRUNK FITTED ON SHAFT. TOP ROLLER WILL BE LOTUS. 3. THE SHAFT WILL BE OF 40C8 QUALITIES CONFIRMING TO IS: 1570 – 1979 OR EQUIVALENT, BEARING MIN. STRENGTH OF 58 KG/MM2. 4. THE ROLLER SURFACE WILL BE HARD FACED. 5. THE JOURNAL SIZE WILL BE MINIMUM DIA. 300 MM X 400 MM FOR GRPF ROLLER. 6. THE ROLLER WILL BE SUPPORTED ON CAST STEEL BEARING OF IS-1030 GRADE LL WITH GUN METAL BUSH. 7. GRPF TOP BRACKET, BOTTOM BRACKET & SIDE CAP WILL BE FABRICATED OUT OF IS: 2062 WELD-ABLE QUALITY 32 MM THICK. MILD STEEL PLATE. IT WILL BE STRESS RELIVED & MACHINED TO SUIT GRPF ROLLER. 8. SPACER & PACKING PLATES WILL BE PROVIDED IN BETWEEN TOP & BOTTOM ROLLER BEARING TO ADJUST THE SETTING BETWEEN THE GRPF ROLLERS. 9. PRESSURE CHUTE WILL BE MADE OUT OF 25 MM THICK MS PLATE OF IS:2062 QUALITY MATERIAL. INSIDE SURFACE OF PRESSURE CHUTE WILL BE LINED WITH 5 MM THICK STAINLESS STEEL PLATE OF AISI-304 QUALITY. THE PRESSURE CHUTE WILL BE SUITABLE REINFORCE TO WITH STAND MAXIMUM PRESSURE OF 7 KG/CM2. PRESSURE CHUTE WILL HAVE ARRANGEMENT TO CHANGE SETTING. 10. STATIC COLLAR WILL BE PROVIDED OF 25 MM THK M.S. PLATE WITH HARD FACING. 11. GRPF WILL BE DRIVEN BY 200KW AC VFD DRIVE THR' PLANETARY GEAR BOX ATTACHED TO BOTTOM ROLLER, ( GEAR BOX – PREMIUM, MOTOR – MARATHON / CG / ABB, VFD – DANFOSS). WILL BE SUPPLY TAIL BAR COUPLING ARRANGEMENT FOR THIS DRIVE. 12. GRPF TOP ROLLER WILL BE DRIVEN BY CROWN PINION FROM GRPF BOTTOM ROLLER. 13. SURFACE SPEED OF GRPF ROLLER WILL BE ABOUT 30% HIGHER THAN MILL ROLLER SPEED. 14. EXISTING UNDER FEED ROLLER WITH BEARINGS & BRACKET WILL BE USED AS GRPF UNDER FEED ROLLER & WILL BE DRIVEN BY CROWN PINION FROM GRPF TOP ROLLER. 15. TOP ROLLER AND BOTTOM ROLLER COVERS OF 4 MM THK M.S. PLATE WILL BE PROVIDED. TERMS AND CONDITION :- 01. WORK WILL BE COMPLETEDIN THE SCHEDULE TIME (GIVEN BY CHIEF ENGINEER) 02. ALL TOOL AND TACKELS ie- HYDRA, CRANE, WELDING MACHINE,WELDING CABLE.CUTTING SET,SAFETEY ITEM ARE IN SCOPE OF CONTRACTOR/SUPPLIER. 03. ALL CONSUMABLES TO EXECUTE THE JOB/ WORK,ie - GAS,WELDING ELECTRODE etc. WILL BE CONTRACTOR SCOPE. 04. LODGING,UNLOADING,TRANSPORTATION WILL BE IN THE SCOPE OF CONTRACTOR. 05. IN THE CASE OF ANY CSUALTY/ ACCIDENT FACTORY MANAGEMENT WILL NOT BE RESPONSIBAL, ALL RESPOSIBLE OF SUPPLYER /CONTRACTOR MAKE - ADITYA/ARYAN/RUSHIKESH | SET |  | 1 | 0
91 | MMSSKM | NS | 2024 | 10434 | Condenset Pump With Motor, Cap. 50 m3/Hr. Head- 50 m Make - Sintech | NO |  | 2 | 0
92 | MMSSKM | NS | 2024 | 10435 | Condenset Pump With Motor, Cap. 60 m3/Hr. Head- 40 m Make - Sintech | NO |  | 2 | 0
93 | MMSSKM | NS | 2024 | 10436 | Condenset Pump With Motor, Cap. 40 m3/Hr. Head- 30 m Make - Sintech | NO |  | 2 | 0
94 | MMSSKM | NS | 2024 | 10437 | Condenset Pump With Motor, Cap. 10 m3/Hr. Head- 30 m Make - Sintech | NO |  | 2 | 0
95 | MMSSKM | NS | 2024 | 10438 | Condenset Pump With Motor, Cap. 5 m3/Hr. Head- 30 m Make - Sintech | NO |  | 2 | 0
96 | MMSSKM | NS | 2024 | 10542 | AMC , SERVICING AND OVERHAULING OF BOILER FEED PUMP TYPE MOTER DRIVE PANEL ABB TYPE ACS - 800-4-0360 | NO |  | 2 | 0
97 | MMSSKM | NS | 2024 | 10569 | AMC SERVICING WELDING MACHINE WITH SERVICE ENGINEER MAKE - ADOR | NO |  | 3 | 0

## REFERENCE
Department Name | Code | SOR Name | SOR | UOM Name | UOM Code | false163058
36 Incubation Center (AIC 36Inc) Chhattisgarh(36INC) | 36INC | PHE | PHE | Percentage | %
ASSISSTANT COMMISSIONAR TRIBAL DEVELOPMENT NARAYANPUR C.G(ACTDN) | ACTDN | PHED | PHED1 | % of Cost of Bridge (excluding Maintenance) sanctioned by competent authority | % of Cost of Bridge (excluding Maintenance) sanctioned by competent authority
Atal Bihari Vajpayee Vishvavidyalaya,Bilaspur Chhattisgarh(ABVVBC) | ABVVBC | RES_BUILDING | RESBDG | Per mile | %O
Balod District Urban Public Service Society(BALDUPSS) | BALDUPSS | NON DSR BUILDING 2018 | NON DSR BUILDING | 1 Job | 1 Job
Baloda Bazar District Urban Public Service Society(BBDUPSS) | BBDUPSS | BRIDGE | PWD_BRIDGE | 1000 no. | 1000 no.
Balrampur District Urban Public Service Societ(BPDUPSS) | BPDUPSS | DSR BUILDING 2016 | DSR BUILDING | 1000 piece | 1000 piece
Bastar District Urban Public Service Society(BASTARJUPS) | BASTARJUPS | NON SOR | NS | 1000No. | 1000No.
Bastar Urban Public Service Society (BSTUPSS) | BSTUPSS | CPWD DSR 2016 | CPWD DSR 2016 | Print | 123
Bemetara District Urban Public Service Society(BEMDUPSS) | BEMDUPSS | PWD ROAD | PWD ROAD | Per Diem Rate | 1234
Bhoramdev Sahakari Sugar Production Factory-Kabirdham(BSSPFK) | BSSPFK | WRD | WRD | MAN DAYS | 12345
Bijapur District Urban Public Service Society(BIJAPURUPS) | BIJAPURUPS | ELECTRIC | ELECT | 1 Box | 1B
Bilaspur District Urban Public Service Society(BJUPSS) | BJUPSS | PMGSY SOR | PMGSY | 1 Piece | 1P
Bilaspur Smart City Limited(BSCL) | BSCL | Creda SOR | CREDA_SOR | 1 Strip | 1S
Bilaspur Urban Public Service Society (BSPUPSS) | BSPUPSS | PWD BUILDLING | PWD BLD | 1 Tube | 1T
CG Building and other Construction workers welfare Board (CGBOCW) | CGBOCW | DSR ELECTRICAL 2016 | DSR ELECTRICAL | PRINT | 678
Chhattisgarh Academy of Administration Nimora Raipur(CAOANR) | CAOANR |  |  | Siemens Per meter | A/V
Chhattisgarh Board of Secondary Education(CBOSE) | CBOSE |  |  | Acre | ACR
Chhattisgarh Council of Science &amp; Technology(CCST) | CCST |  |  | AMC | AMC
Chhattisgarh Department of Agriculture (CGDA) | CGDA |  |  | AMPOULE | AMP
CHHATTISGARH ENVIRONMENT CONSERVATION BOARD(CECB) | CECB |  |  | Price Should be quoted as per SKU in Aneexure-I of Tender Document | APT
Chhattisgarh Government Labour Department(CGLD) | CGLD |  |  | As per Tender | APT1
Chhattisgarh Handicraft Board (CGHCB) | CGHCB |  |  | Single Rate (1 Tablet/1 capsule/1 Amp/1 Vial /1 Bottle/1 Kit/1 Test Kit) | APT2
Chhattisgarh High Court, Bilaspur (CGHC) | CGHC |  |  | Activity unit | AU
Chhattisgarh Housing Board (CGHB) | CGHB |  |  | Bag | BAG
Chhattisgarh Infotech Promotion Society (CHiPS) | CHiPS |  |  | barrel | barrel
Chhattisgarh Kamdhenu Vishwavidyalaya(CGKV) | CGKV |  |  | Batch | Batch
Chhattisgarh Khadi &amp; Village Industries Board(CGKVIB) | CGKVIB |  |  | BHQ | BHQ
Chhattisgarh livestock development Agency(CLDA) | CLDA |  |  | Book | BK
Chhattisgarh Medical Services Corporation Ltd. (CGMSC) | CGMSC |  |  | BOTTLE | BOT
Chhattisgarh Mineral Development Corporation Ltd(CMDC) | CMDC |  |  | Box | BOX
Chhattisgarh Police Housing Corporation Ltd (CGPHC) | CGPHC |  |  | Gallons per hour (US) | BPH
Chhattisgarh Railway Corporation Ltd(CRCL) | CRCL |  |  | Brass | Brass
Chhattisgarh Rajya Beej Evam Krishi Vikas Nigam (CGRBEKVN) | CGRBEKVN |  |  | Billing Rate Per Month | BRM
Chhattisgarh Rajya Sahakari Bank Mydt(CRSBM) | CRSBM |  |  | Bottle | BT
Chhattisgarh Regional Science Centre Society(CRSCS) | CRSCS |  |  | Bundle | Bundle
Chhattisgarh Road Development Corporation Limited(CGRDC) | CGRDC |  |  | Cubic sentimeter /second | C3S
Chhattisgarh State Civil Supplies Corp. Limited (SCSC) | SCSC |  |  | Canister | CAN
Chhattisgarh State Co-Operative Marketing Federation Limited(CGMARKFED) | CGMARKFED |  |  | Carton | CAR
Chhattisgarh State Cooperative Dairy Federation Ltd.(CGCDF) | CGCDF |  |  | Cubic Centimeter | CCM
Chhattisgarh State Election Commission(CSEC) | CSEC |  |  | Cubic decimeter | CD3
Chhattisgarh State Industrial Development Corporation (CSIDC) | CSIDC |  |  | Centiliter | CL
Chhattisgarh State Information Infrastructure Corporation Limited(CSIICL) | CSIICL |  |  | cm | cm
Chhattisgarh State Mandi Board (CGSMB) | CGSMB |  |  | Centimeter | CM
Chhattisgarh State Minor Forest Produce-Trading & Development Co-Operative Federation Ltd (CGMFPFED) | CGMFPFED |  |  | Square centimeter | CM2
Chhattisgarh State Power Distribution Company Limited (CGSPDCL) | CGSPDCL |  |  | coils | coils
Chhattisgarh State Power Generation Company Limited (CGSPGCL) | CGSPGCL |  |  | COILS | Coils
Chhattisgarh State Power Transmission Company Limited (CGSPTCL) | CGSPTCL |  |  | CONE | CONE
Chhattisgarh State Renewable Energy Development Agency(CREDA) | CREDA |  |  | Copies | Copies
Chhattisgarh State Skill Development Authority(CSSDA) | CSSDA |  |  | Crate | CRT
Chhattisgarh State Warehousing Corporation (CGSWC) | CGSWC |  |  | Case | CS
Chhattisgarh Text Book Corporation (CGTBC) | CGTBC |  |  | Cu.Mtr. | Cu.Mtr.
CHHATTISGARH TOURISM BOARD(CGT) | CGT |  |  | cubic feet | cubic feet
Chhattisgarh Transport Department(CTD) | CTD |  |  | cubic feet (CFT) | cubic feet (CFT)
CHIEF MEDICAL AND HEALTH OFFICER RAIGARH(CMAHOR) | CMAHOR |  |  | cum | cum
Collectorate Balod(CB) | CB |  |  | cum.km | cum.km
Danteshwari Maiya Shahkari Shakkar Karkhana Maryadit Balod(DMSSK) | DMSSK |  |  | Days | DAY
Dantewada District Urban Public Service Society(DANTEWADAU) | DANTEWADAU |  |  | Degree | DEG
Department of Home Guard and Civil Defence Chhattisgarh (HGCD) | HGCD |  |  | DFLT | DFLT
Department of Panchayat and Social Welfare (DPSW) | DPSW |  |  | DHQ | DHQ
Department of School Education (DSE) | DSE |  |  | DHQ-BHQ | DHQ-BHQ
Department of Technical Education (DTE) | DTE |  |  | Decimeter | DM
Department of Women and Child Development(WCD) | WCD |  |  | Drum | DR
Dhamtari Jila Urban Public Service Society(DJUPSS) | DJUPSS |  |  | DRUM | DRUM
Directorate Financial Management and Information System(DFMAIS) | DFMAIS |  |  | Dozen | DZ
Directorate Horticulture and Farm Forestry, Chhattisgarh(DHF) | DHF |  |  | EACH | EA
Directorate of Printing and Stationery(DOPAS) | DOPAS |  |  | each | each
Directorate of Aviation(DoA) | DoA |  |  | EACH | EACH
Directorate of CG Food And Civil Supplies and Consumer Protection(DSCSC) | DSCSC |  |  | each additional floor | each additional floor
Directorate of Culture and Archaeology Chhattisgarh(DOCAAC) | DOCAAC |  |  | Each Courty | Each Court
Directorate of Culture and Language(DCL) | DCL |  |  | each cut | each cut
Directorate of Fisheries (DF) | DF |  |  | EACH FRAME | EACH FRAME
Directorate of Higher Education Chhattisgarh(DOHEC) | DOHEC |  |  | Each rol | Each rol
Directorate of Industries(DOI) | DOI |  |  | each test | each test
Directorate of Institutional Finance(DIF) | DIF |  |  | each tree guard | each tree guard
Directorate of Local Fund Audit(DOLFA) | DOLFA |  |  | each tree guard | each tree guard
Directorate of Social Welfare Chhattisgarh(DSWC) | DSWC |  |  | Each box | EB
Directorate of Sports and Youth Welfare(DSYW) | DSYW |  |  | Enzyme Units / Milliliter | EML
Directorate of Treasury Accounts &amp; Pension, Chhattisgarh(DTAPC) | DTAPC |  |  | Each TAPE | ET
Directorate of Tribal and Schedule Caste Development(DTSCD) | DTSCD |  |  | Enzyme Units | EU
Directorate of Tribal Research and Training Institute(DOTRATI) | DOTRATI |  |  | For each (Unit) Quantity | For each (Unit) Quantity
Directorate of Veterinary Services Chhattisgarh(DVSC) | DVSC |  |  | For each PPE KIT | For each PPE KIT
DISTRICT POLICE KORBA(DPK) | DPK |  |  | For each Test KIT | For each Test KIT
Durg District Urban Public Service Society(DDUPSS) | DDUPSS |  |  | For each VTM Kit | For each VTM Kit
Durg-Bhilai Urban Public Service Society (DBUPSS) | DBUPSS |  |  | Fluid Ounce US | FOZ
Food and Drug Administration (FDA) | FDA |  |  | Feet | FT
Forest Department(FD) | FD |  |  | Square foot | FT2
Gariaband District Urban Public Service Society(GDUPSS) | GDUPSS |  |  | Cubic Foot | FT3
Gaurella Pendra Marwahi District Urban Public Service Society(GPMDUPSS) | GPMDUPSS |  |  | Gigajoule | FY
Health Department (HD) | HD |  |  | Gram | G
IIIT Naya Raipur(IIITNR) | IIITNR |  |  | gram act.ingrd /liter | G/L
Indira Gandhi Krishi Vishwavidyalaya (IGKV) | IGKV |  |  | US gallon | GAL
Inspector General of Registration and Superintendent of Stamps(IGRS) | IGRS |  |  | Gram Gold | GAU
Janjgir Champa District Urban Public Service Society(JCDUPSS) | JCDUPSS |  |  | Gram act.ingrd. | GI
Jashpur District Urban Public Service Society(JASDUPSS) | JASDUPSS |  |  | Gram /liter | GLI
Jila Nirman Samiti Jagdalpur(JNSJ) | JNSJ |  |  | Gram/Mol | GM
Jila Sahakari Kendriya Bank Mydt. Durg (CG)(JSKBMD) | JSKBMD |  |  | Gram/Kilogram | gm/kg
Kanker District Urban Public Service Society(KANDUPSS) | KANDUPSS |  |  | Gram /square meter | GM2
Kawardha District Urban Public Service Society(KAWDUPSS) | KAWDUPSS |  |  | Gram/Cubic meter | GM3
Kondagaon District Urban Public Service Society(KONUPSS) | KONUPSS |  |  | Gigaohm | GOH
Korba District Urban Public Service Society(KJUPSS) | KJUPSS |  |  | Gallons per mile (US) | GPM
Korba Urban Public Service Society (KRBAUPSS) | KRBAUPSS |  |  | Gross | GRO
Korea District Urban Public Service Society(KDUPSS) | KDUPSS |  |  | Hour | H
Koriya Urban Public Transport Society (KRYAUPTS) | KRYAUPTS |  |  | Hectare | HA
Lauh Purush Sugar Plant, Pandariya(LSPSSKM) | LSPSSKM |  |  | hectare | hectare
Livestock Development Department(LDD) | LDD |  |  | Hectoliter | HL
Maa danteshwari Maize processing and marketing cooperative society ltd. Kondagaon(MDMPMCSL) | MDMPMCSL |  |  | hour | hour
Maa Mahamaya Shahkari Shakkar Karkhana Maryadit Ambikapur(MMSSKM) | MMSSKM |  |  | Horse power | HP
Mahasamund District Urban Public Service Society(MDUPSS) | MDUPSS |  |  | Hours | HR
Mahatma Gandhi University of Horticulture and Forestry(MGUHF) | MGUHF |  |  | Hours | Hrs
Mineral Resources Department -Mining (MRD) | MRD |  |  | hundred Pieces | hundred Pieces
Mungeli District Urban Public Service Society(MUDUPSS) | MUDUPSS |  |  | HALF YEARLY | HY
Narayanpur District Urban Public Service Society(NDUPSS) | NDUPSS |  |  | I/O Point | I/O Point
Nava Raipur Atal Nagar Smart City Corporation Limited(NRANSCCL) | NRANSCCL |  |  | INHALER | INH
Nava Raipur Atal Nagar Vikas Pradhikaran (NRANVP) | NRANVP |  |  | Indian Rupees | INR
Office of Chief Electoral Officer, Chhattisgarh(OCEO) | OCEO |  |  | JAR | JAR
Office of Commissioner Land Records Chhattisgarh(OCLR) | OCLR |  |  | Joule /kilogram | JKG
Panchayat and Rural Development (PARD) | PARD |  |  | Joule /Mol | JMO
Police Headquarter Chhattisgarh(PHQ) | PHQ |  |  | Job | Job
Public Health Engineering Department (PHED) | PHED |  |  | joint | joint
Public Works Department (PWD) | PWD |  |  | Kilogram act.ingrd | KAI
Raigarh District Urban Public Transport Society(RDUPTS) | RDUPTS |  |  | Kilogram /cubic decimeter | KD3
Raigarh Urban Public Service Society (RIGUPSS) | RIGUPSS |  |  | kg | kg
Raipur Collectorate (RC) | RC |  |  | Kgs | Kg
Raipur Development Authority (RDA) | RDA |  |  | Kilogram | KG
Raipur District Urban Public Service Society(RAIPURDUPS) | RAIPURDUPS |  |  | Kilogram/Mol | KGM
Raipur Smart City Limited(RSCL) | RSCL |  |  | Kilogram /Second | KGS
Raipur Urban Public Transport Society (RUPTS) | RUPTS |  |  | Kilogram / cubic meter | KGV
Rajnandgaon District Urban Public Service Society(RDUPSS) | RDUPSS |  |  | kg act.ingrd /kg | KIK
Rajnandgaon Urban Public Service Society (RNDGUPSS) | RNDGUPSS |  |  | KILOWATT | KILOWATT
Rural Engineering Services (RES) | RES |  |  | KIT | KIT
Samagra Shiksha Chhattisgarh (SSC) | SSC |  |  | Kilojoule/kilogram | KJK
Sarguja District Urban Public Service Society(SRDGUPSS) | SRDGUPSS |  |  | Kilojoule/Mol | KJM
Sarguja Urban Public Service Society (SUPSS) | SUPSS |  |  | Kilo Litre | KL
State Tax Chhattisgarh(STCG) | STCG |  |  | Km | Km
State Urban Development Agency (SUDA) | SUDA |  |  | Kilometer | KM
Sukma District Urban Public Service Society(SUKDUPSS) | SUKDUPSS |  |  | km. | km.
Surajpur District Urban Public Service Society(SRJDUPSS) | SRJDUPSS |  |  | Square kilometer | KM2
Swachh Bharat Mission (Gramin) Panchayat and Rural Development Department(SBMPARDD) | SBMPARDD |  |  | Kilometer/hour | KMH
Tribal and Scheduled Caste Development Department(Mohla Manpur Ambagarh Chauki)(TASCDDMMAC) | TASCDDMMAC |  |  | Kelvin/Minute | KMN
Tribal Welfare Development Department ( Balrampur-Ramanujganj)(TWDDBR) | TWDDBR |  |  | Kelvin /Second | KMS
Tribal Welfare Development Department (Balod- Collectorate)(TWDDBALOD) | TWDDBALOD |  |  | Kilonewton per square meter | KNM
Tribal Welfare Development Department (Bilaspur)(TWDDBILASP) | TWDDBILASP |  |  | Kilopascal | KPA
Tribal Welfare Development Department (Dhamtari)(TWDDDT) | TWDDDT |  |  | Kilotonne | KT
Tribal Welfare Development Department (Gariyaband)(TWDD) | TWDD |  |  | Kilovoltampere | KVA
Tribal Welfare Development Department (Gaurella-Pendra-Marwahi-Collectorate)(TWDDGPM) | TWDDGPM |  |  | KWH | KWH
Tribal Welfare Development Department (Jagdalpur- Collectorate)(TWDDJDP) | TWDDJDP |  |  | KILOWATT POWER | KWP
Tribal Welfare Development Department (Kabeerdham Collectorate)(TWDDKC) | TWDDKC |  |  | kwp-dc | kwp-dc
Tribal Welfare Development Department (Kanker)(TWDDKANKER) | TWDDKANKER |  |  | US Pound | LB
Tribal Welfare Development Department (Koriya)(TWDDKORIYA) | TWDDKORIYA |  |  | lemgth | lemgth
Tribal welfare development Department (Mahasamund)(TWDDMSD) | TWDDMSD |  |  | length | length
Tribal Welfare Development Department (Mungeli-Collectorate)(TWDDMC) | TWDDMC |  |  | Liter per 100 km | LHK
Tribal Welfare Development Department (Rajnandgaon Collectorate)(TWDDRJN) | TWDDRJN |  |  | litre | litre
Tribal Welfare Development Department (Surajpur Collectorate)(TWDDSC) | TWDDSC |  |  | Liter /Minute | LMI
Tribal Welfare Development Department Balodabaza Bhatapara(TWDDBB) | TWDDBB |  |  | Liter /Molsecond | LMS
Tribal Welfare Development Department Durg(TWDDD) | TWDDD |  |  | LOT | LOT
Tribal Welfare Development Department Kondagaon(TWDDK) | TWDDK |  |  | Liter Per hour | LPH
Tribal Welfare Development Department Raigarh(TWDDRG) | TWDDRG |  |  | Lumpsum | LS
Tribal Welfare Development Department, Jashpur(TWDDJSP) | TWDDJSP |  |  | LITRE | LT
Tribal Welfare Development Department(Ambikapur-Collectorate)(TWDDABK) | TWDDABK |  |  | lumpsump | lumpsump
Tribal Welfare Development Department(Bemetara Collectorate)(TWDDBC) | TWDDBC |  |  | Meter | M
Tribal Welfare Development Department(Korba-Collectorate)(TWDDKORBA) | TWDDKORBA |  |  | 1/square meter | M-2
Tribal Welfare Development Department(Raipur-Collectorate)(TWDDRC) | TWDDRC |  |  | Mol per cubic meter | M:M
Tribal Welfare DevelopmentDepartment(Janjgir-Champa-Collectorate)(TWDDJCC) | TWDDJCC |  |  | Megawatt hours | M..
Urban Administration and Development Department (UADD) | UADD |  |  | M.T. | M.T.
Water Resources Department (WRD) | WRD |  |  | Meter /Hour | M/H
Zila Panchayat Raipur(ZPR) | ZPR |  |  | Mol per liter | M/L
|  |  |  | Meter /second | M/S
|  |  |  | Square meter | M2
|  |  |  | Square meter/Coat | M2C
|  |  |  | Square meter/second | M2S
|  |  |  | Cubic meter | M3
|  |  |  | Cubic meter /Hour | M3H
|  |  |  | Cubic meter/second | M3S
|  |  |  | Man days | Man days
|  |  |  | Man-Month | Man-Month
|  |  |  | ManDay | ManDay
|  |  |  | Manmonth | Manmonth
|  |  |  | Mbps | Mb
|  |  |  | Megajoule | MEJ
|  |  |  | meter | meter
|  |  |  | metre | metre
|  |  |  | Milligram | MG
|  |  |  | Milligram/liter | MGL
|  |  |  | Megohm | MGO
|  |  |  | Milligram /cubic meter | MGQ
|  |  |  | Megavolt | MHV
|  |  |  | Mile | MI
|  |  |  | Square mile | MI2
|  |  |  | Minute | MIN
|  |  |  | Microsecond | MIS
|  |  |  | Milliliter | ML
|  |  |  | ML/GM/KG | ML/GM/KG
|  |  |  | Milliliter/ Liter | ml/l
|  |  |  | Milliliter act.ingr. | MLI
|  |  |  | Millimeter | MM
|  |  |  | Square millimeter | MM2
|  |  |  | Cubic millimeter | MM3
|  |  |  | Meganewton | MN
|  |  |  | Millinewton/meter | MNM
|  |  |  | Months | MON
|  |  |  | Miles per gallon (UG) | MPG
|  |  |  | Millimol per liter | MPL
|  |  |  | Millipascal seconds | MPS
|  |  |  | Millisecond | MS
|  |  |  | Meter/second squared | MS2
|  |  |  | Microsiemens per centimeter | MSC
|  |  |  | METRIC TON | MT
|  |  |  | MTR | MTR
|  |  |  | Nanoampere | NA
|  |  |  | Nanometer | NAM
|  |  |  | Number Days | ND
|  |  |  | Kilonewton | NI
|  |  |  | Newton/meter | NM
|  |  |  | Newton/Square millimeter | NMM
|  |  |  | Number | NO
|  |  |  | Nanosecond | NS
|  |  |  | one RCC jaali tree guard | one RCC jaali tree guard
|  |  |  | one RCC jaali tree guard | one RCC jaali tree guard
|  |  |  | Ounce | OZ
|  |  |  | Points | P
|  |  |  | P.cmt | P.cmt
|  |  |  | P.cumt. | P.cumt.
|  |  |  | P.KG / P.LTR | P.KG / P.LTR
|  |  |  | PER KG | P.KG.
|  |  |  | P.Kit | P.Kit
|  |  |  | P.Km. | P.Km.
|  |  |  | P.mtr | P.mtr
|  |  |  | P.Pair | P.Pair
|  |  |  | P.Point | P.Point
|  |  |  | Per Running Meter Per Box | P.R.M.P.BOX
|  |  |  | p.sq.mtr | p.sq.mtr
|  |  |  | P/sq.Mt. | P/sq.Mt.
|  |  |  | Pair | PAA
|  |  |  | Pack | PAC
|  |  |  | pack | pack
|  |  |  | Package | Package
|  |  |  | Pad | PAD
|  |  |  | page | page
|  |  |  | Pair | Pair
|  |  |  | Pallet | PAL
|  |  |  | part | part
|  |  |  | Pascal second | PAS
|  |  |  | Per Patient | Patient
|  |  |  | PER BRIDGE | PB
|  |  |  | Per Bed | PB1
|  |  |  | Per Bale Per KM | PBPK
|  |  |  | Piece | PC
|  |  |  | Megavoltampere | PCT
|  |  |  | per cm height per letter | per cm height per letter
|  |  |  | per cm height per letter | per cm height per letter
|  |  |  | per day | per day
|  |  |  | PER BAG | PER BAG
|  |  |  | Per bale | Per bale
|  |  |  | per bar | per bar
|  |  |  | PER CANDIDATE | PER CANDIDATE
|  |  |  | Per Candidate Per Exam | Per Candidate Per Exam
|  |  |  | per cubic centimeter | per cubic centimeter
|  |  |  | per day | per day
|  |  |  | Per Diem Rate | Per Diem Rate
|  |  |  | Per Doz | Per Doz
|  |  |  | per HP | per HP
|  |  |  | PER HUNDRED PIECES | PER HUNDRED PIECES
|  |  |  | Per Kg | Per Kg
|  |  |  | Per Km. | Per Km.
|  |  |  | PER KILOWATT | PER KW
|  |  |  | per letter | per letter
|  |  |  | Per Ltr | Per Ltr
|  |  |  | per month | per month
|  |  |  | Per MT | Per MT
|  |  |  | Per mtr | Per mtr
|  |  |  | Per packet | PER PACKET
|  |  |  | per page | per page
|  |  |  | PER PAGE | PER PAGE
|  |  |  | Per person | PER PERSON
|  |  |  | Per person per day | Per person per day
|  |  |  | PER PERSON PER DAY | PER PERSON PER DAY
|  |  |  | Per piece | PER PIECE
|  |  |  | Per Plants | Per Plants
|  |  |  | PER POLE | PER POLE
|  |  |  | per pouch | per pouch
|  |  |  | per quintal | per quintal
|  |  |  | Per running feet | PER RUNNING FEET
|  |  |  | Per Set | Per Set
|  |  |  | PER SHEET | PER SHEET
|  |  |  | Per Sqr Km | Per Sqr Km
|  |  |  | Per square km | Per square km
|  |  |  | PER STICKER | PER STICKER
|  |  |  | Per Tanker | Per Tanker
|  |  |  | per test | per test
|  |  |  | Per thousand | PER THOUSAND
|  |  |  | per tonne | per tonne
|  |  |  | per tonne capacity | per tonne capacity
|  |  |  | per trip | per trip
|  |  |  | Per unit | PER UNIT
|  |  |  | per.mtr | per.mtr
|  |  |  | percentage of DPR cost | percentage of DPR cost
|  |  |  | UNP1 | Percentage of Project Cost
|  |  |  | PER SQUARE FEET | PERSQF
|  |  |  | PER BOREHOLE | PH
|  |  |  | 1/minute | PMI
|  |  |  | Per Machine Per Session | PMPS
|  |  |  | Pikofarad | PO
|  |  |  | percentage of DPR cost | PODPRC
|  |  |  | Point | Point
|  |  |  | Per Piece 500 ml bottle | PP500ML
|  |  |  | Parts per billion | PPB
|  |  |  | Parts per million | PPM
|  |  |  | PER POINT | PPNT
|  |  |  | Per Pack Price | PPP
|  |  |  | Per Person Per Month | PPPM
|  |  |  | Per Person Per Month Per Shift | PPPMPS
|  |  |  | Per Patient | PPT
|  |  |  | Per Roll | PR
|  |  |  | Per Rig | PRG
|  |  |  | Print | Print
|  |  |  | PER UNIT PER MONTH | PRPM
|  |  |  | Number of persons | PRS
|  |  |  | Picosecond | PS
|  |  |  | Pound Per Sq inch | PSI
|  |  |  | COST PER SITE LOCATION/ PER DIGITAL MAP | PSLPDM
|  |  |  | Per Square Feet Per Month | PSQPM
|  |  |  | Pint, US liquid | PT
|  |  |  | Per Ton Per KM | PTPK
|  |  |  | Per Unit Per Month | PUPM
|  |  |  | PER UNIT PER YEAR | PUPYR
|  |  |  | Kilomol | QML
|  |  |  | QUINTAL | QNTL
|  |  |  | Quart, US liquid | QT
|  |  |  | QUARTER | qtr
|  |  |  | quintal | quintal
|  |  |  | Nanofarad | R-U
|  |  |  | R.M. | R.M.
|  |  |  | Millifarad | RF
|  |  |  | Gramm/cubic centimeter | RHO
|  |  |  | Rim | RIM
|  |  |  | Ream | RM
|  |  |  | Running Meter | Rmt
|  |  |  | RUNNING METRE | RMT
|  |  |  | Role | ROL
|  |  |  | Roll | Roll
|  |  |  | Roll | Roll_UD
|  |  |  | Rate Per Bale | RPB
|  |  |  | Set | Set
|  |  |  | SET | SET
|  |  |  | SHEET | SHEET
|  |  |  | SHQ | SHQ
|  |  |  | Square feet | Sq.Ft
|  |  |  | Sq.mtr | Sq.mtr
|  |  |  | Square Meter | sqm
|  |  |  | SEAT | ST
|  |  |  | SYRUP | SYP
|  |  |  | TCS | TCS
|  |  |  | Thousand Hours | THR
|  |  |  | Tin | Tin
|  |  |  | Tonnes | TO
|  |  |  | Ton/Cubic meter | TOM
|  |  |  | US Ton | TON
|  |  |  | Tone | Tone
|  |  |  | Tonne | Tonne
|  |  |  | Thousand | TS
|  |  |  | TUBE | TUB
|  |  |  | Tube | Tube
|  |  |  | For each Test KIT | UN1
|  |  |  | Rate Per 1000 Pcs | UN1000
|  |  |  | For each PPE KIT | UN2
|  |  |  | For each (Unit) Quantity | UN3
|  |  |  | For each VTM Kit | UN4
|  |  |  | FOR EACH TEST | UN5
|  |  |  | For Each Kit | UN8
|  |  |  | UNIT | UNIT
|  |  |  | UNIT | UNIT1
|  |  |  | Percentage of Project Cost | UNP
|  |  |  | for each Vehicle | UNV
|  |  |  | USERS | USERS
|  |  |  | Voltampere | VA
|  |  |  | Vo mat. | VAL
|  |  |  | VIAL | VIA
|  |  |  | weeks | WK
|  |  |  | DEFAULT UNIT DESCRIPTION | XXX
|  |  |  | Yard | YD
|  |  |  | Square Yard | YD2
|  |  |  | Cubic yard | YD3
|  |  |  | Year | Year
|  |  |  | Years | YR
|  |  |  | Microampere | µA
|  |  |  | Microfarad | µF
|  |  |  | Microgram /liter | µGL
|  |  |  | Microgram /cubic meter | µGQ
|  |  |  | Microliter | µL
|  |  |  | Micrometer | µM