## TENDER_ITEM_UPLOAD
To enable entering data into the sheet, please click on 'Enable Editing'.
Please insert items from 12th row.
Every row will be considered as a distinct item.
The row, in which the two fields- 'Item Code' and 'Description' are blank, will not be considered.
If 'CREDIT ITEM' is not entered, default value '0' will be taken.
If 'Calc Field' is not entered, default value 'N' will be taken.
MAX ITEM LIMIT IN EACH EXCEL FILE IS 1000
SERIAL No. | Department | SOR | Year | Item Code | Description | UOM | Rate | Quantity | Amount | Ref Serial No | CREDIT ITEM (0/1) | Calc Field(Y/N) | Offset/Reserve Price | EMD Amount
1 | MMSSKM | NS | 2025 | 10220 | 3 PHASE SQ. CAGE MOTOR REWINDING, REPAIRING AND MAINTENANCE, HP-200, RPM-738, STATOR, INSULATION-F TERMS & CONDITIONS 1-SUPER ENAMIL COPPER WIRE MUST TO BE STANDARD QUALITY. 2- INSULATING PAPER TAPE & VARNISH (DR BACK) STANDARD QUALITY. 3- MOTOR TERMINAL LEAD MUST BE GLASS BRAIDED WIRE WITH PROPERLY GLASS TAPING & WINDING .4- OLD SCRAP MATERIAL REVINDER PROPERTY 5- MOTOR FINALIZE AFTER LOAD TRIAL . 6- MOTOR BEARING / BUSHESH REPLACEMENT PERIOR INSTRUCTION APPROVAL 7- ONE CRUSHING SEASON UNDER GUARANTEE/ WARANTEE MOTOR MAKE - MERATHAN/SEIMENS/ABB | NO |  | 1 | 0
2 | MMSSKM | NS | 2025 | 10221 | 3 PHASE SQ. CAGE MOTOR REWINDING, REPAIRING AND MAINTENANCE, HP-268, RPM-2900, STATOR, INSULATION-F TERMS & CONDITIONS 1-SUPER ENAMIL COPPER WIRE MUST TO BE STANDARD QUALITY. 2- INSULATING PAPER TAPE & VARNISH (DR BACK) STANDARD QUALITY. 3- MOTOR TERMINAL LEAD MUST BE GLASS BRAIDED WIRE WITH PROPERLY GLASS TAPING & WINDING .4- OLD SCRAP MATERIAL REVINDER PROPERTY 5- MOTOR FINALIZE AFTER LOAD TRIAL . 6- MOTOR BEARING / BUSHESH REPLACEMENT PERIOR INSTRUCTION APPROVAL 7- ONE CRUSHING SEASON UNDER GUARANTEE/ WARANTEE MOTOR MAKE - MERATHAN/SEIMENS/ABB | NO |  | 1 | 0
3 | MMSSKM | NS | 2025 | 10222 | 3 PHASE SQ. CAGE MOTOR REWINDING, REPAIRING AND MAINTENANCE, HP-177, RPM-1000, STATOR, INSULATION -F TERMS & CONDITIONS 1-SUPER ENAMIL COPPER WIRE MUST TO BE STANDARD QUALITY. 2- INSULATING PAPER TAPE & VARNISH (DR BACK) STANDARD QUALITY. 3- MOTOR TERMINAL LEAD MUST BE GLASS BRAIDED WIRE WITH PROPERLY GLASS TAPING & WINDING .4- OLD SCRAP MATERIAL REVINDER PROPERTY 5- MOTOR FINALIZE AFTER LOAD TRIAL . 6- MOTOR BEARING / BUSHESH REPLACEMENT PERIOR INSTRUCTION APPROVAL 7- ONE CRUSHING SEASON UNDER GUARANTEE/ WARANTEE MOTOR MAKE - MERATHAN/SEIMENS/ABB | NO |  | 1 | 0
4 | MMSSKM | NS | 2025 | 10223 | 3 PHASE SQ. CAGE MOTOR REWINDING, REPAIRING AND MAINTENANCE, HP-177, RPM-1000, ROTOR, INSULATION-F TERMS & CONDITIONS 1-SUPER ENAMIL COPPER WIRE MUST TO BE STANDARD QUALITY. 2- INSULATING PAPER TAPE & VARNISH (DR BACK) STANDARD QUALITY. 3- MOTOR TERMINAL LEAD MUST BE GLASS BRAIDED WIRE WITH PROPERLY GLASS TAPING & WINDING .4- OLD SCRAP MATERIAL REVINDER PROPERTY 5- MOTOR FINALIZE AFTER LOAD TRIAL . 6- MOTOR BEARING / BUSHESH REPLACEMENT PERIOR INSTRUCTION APPROVAL 7- ONE CRUSHING SEASON UNDER GUARANTEE/ WARANTEE MOTOR MAKE - MERATHAN/SEIMENS/ABB | NO |  | 1 | 0
5 | MMSSKM | NS | 2025 | 10238 | C/F MACHINE ,ACB 1600 AMP FITTING AND TRAIL BUSBAR MODIFICATION WORK INLCUDING BUS BAR BENDING , CUTTING & DRILLING AS PER REQUIREMENT ETC. | NO |  | 1 | 0
6 | MMSSKM | NS | 2025 | 10246 | SERVICING, REPAIRING AND TESTING OF CANE HANDLING PANEL | NO |  | 1 | 0
7 | MMSSKM | NS | 2025 | 10260 | BALANCING OF CANE CHOPPER ,MINIMUM WORK EXPERIENCE 5 YEAR IN SUGAR FACTORY | NO |  | 1 | 0
8 | MMSSKM | NS | 2025 | 10262 | BALANCING OF CANE LEVELLER ,MINIMUM WORK EXPERIENCE 5 YEAR IN SUGAR FACTORY | NO |  | 1 | 0
9 | MMSSKM | NS | 2025 | 10265 | BALANCING OF FIBRIZER ,MINIMUM WORK EXPERIENCE 5 YEAR IN SUGAR FACTORY | NO |  | 1 | 0
10 | MMSSKM | NS | 2025 | 10266 | BALANCING OF I.D. FAN ,MINIMUM WORK EXPERIENCE 5 YEAR IN SUGAR FACTORY | NO |  | 2 | 0
11 | MMSSKM | NS | 2025 | 10267 | BALANCING OF F.D. FAN ,MINIMUM WORK EXPERIENCE 5 YEAR IN SUGAR FACTORY | NO |  | 1 | 0
12 | MMSSKM | NS | 2025 | 10268 | BALANCING OF S.A. FAN ,MINIMUM WORK EXPERIENCE 5 YEAR IN SUGAR FACTORY | NO |  | 2 | 0
13 | MMSSKM | NS | 2025 | 10271 | BALANCING OF HOT AIR BLOWER FAN ,MINIMUM WORK EXPERIENCE 5 YEAR IN SUGAR FACTORY | NO |  | 1 | 0
14 | MMSSKM | NS | 2025 | 10273 | BALANCING OF COLD AIR BLOWER FAN ,MINIMUM WORK EXPERIENCE 5 YEAR IN SUGAR FACTORY | NO |  | 1 | 0
15 | MMSSKM | NS | 2025 | 10276 | BALANCING OF DUST CATCHER BLOWER FAN ,MINIMUM WORK EXPERIENCE 5 YEAR IN SUGAR FACTORY | NO |  | 1 | 0
16 | MMSSKM | NS | 2025 | 10278 | BALANCING OF A- C/F MACHINE ,MINIMUM WORK EXPERIENCE 5 YEAR IN SUGAR FACTORY | NO |  | 3 | 0
17 | MMSSKM | NS | 2025 | 10280 | BALANCING OF B - C/F MACHINE ,MINIMUM WORK EXPERIENCE 5 YEAR IN SUGAR FACTORY | NO |  | 3 | 0
18 | MMSSKM | NS | 2025 | 10282 | BALANCING OF C C/F MACHINE ,MINIMUM WORK EXPERIENCE 5 YEAR IN SUGAR FACTORY | NO |  | 3 | 0
19 | MMSSKM | NS | 2025 | 10283 | BALANCING OF MILL DC MOTOR BLOWER FAN ,MINIMUM WORK EXPERIENCE 5 YEAR IN SUGAR FACTORY | NO |  | 4 | 0
20 | MMSSKM | NS | 2025 | 10284 | COMPLETE RE- ALIGNMENT IN X & Y DIRECTION OF MILL,SIZE - 33 INCH X 66 INCH , MAKE- UTTAM, REMOVING OF HEADSTOCK CHECKING OF BED . REMOVING FOUNDATION BOLTS CHECKING BY ULTRA SONIC TEST .PROVIDING STOPPER TO BOTH SIDE OF HEADSTOCK ,FOR MILL NO. 1,2,3 AND 4. NECESSARY TOOLS & TACKLES SUCH AS BOX TYPE STRAIGHT EDGE ACCURATE MASTER LEVEL TRANSPARENT WATER LEVELS,UT MACHINE ETC. IN SOPE OF COTRACTOR. MINIMUM WORK EXPERIENCE 5 YEAR IN SUGAR FACTORY | NO |  | 4 | 0
21 | MMSSKM | NS | 2025 | 10285 | ULTRA SONIC TEST MILL ROLLERS SHAFT ,MINIMUM WORK EXPERIENCE 5 YEAR IN SUGAR FACTORY | NO |  | 15 | 0
22 | MMSSKM | NS | 2025 | 10287 | ULTRA SONIC TEST CANE CARRIER SHAFT ,MINIMUM WORK EXPERIENCE 5 YEAR IN SUGAR FACTORY | NO |  | 2 | 0
23 | MMSSKM | NS | 2025 | 10289 | ULTRA SONIC TEST FD + ID + SA FAN+RBC+MBC+BAGASSE ELEVATOR SHAFT ,MINIMUM WORK EXPERIENCE 5 YEAR IN SUGAR FACTORY | NO |  | 11 | 0
24 | MMSSKM | NS | 2025 | 10291 | ULTRA SONIC TEST OF UNDER FEED ROLLER SHAFT ,MINIMUM WORK EXPERIENCE 5 YEAR IN SUGAR FACTORY | NO |  | 4 | 0
25 | MMSSKM | NS | 2025 | 10292 | MPI TESTING OF FIBRIZER HUB ,MINIMUM WORK EXPERIENCE 5 YEAR IN SUGAR FACTORY | NO |  | 1 | 0
26 | MMSSKM | NS | 2025 | 10293 | MPI TESTING OF LEVELVER HUB ,MINIMUM WORK EXPERIENCE 5 YEAR IN SUGAR FACTORY | NO |  | 1 | 0
27 | MMSSKM | NS | 2025 | 10294 | MPI TESTING OF CUTTER HUB ,MINIMUM WORK EXPERIENCE 5 YEAR IN SUGAR FACTORY | NO |  | 1 | 0
28 | MMSSKM | NS | 2025 | 10295 | MPI TESTING OF CROWN PINION ,MINIMUM WORK EXPERIENCE 5 YEAR IN SUGAR FACTORY | NO |  | 20 | 0
29 | MMSSKM | NS | 2025 | 10296 | MPI TESTING OF MILL COUPLING ,MINIMUM WORK EXPERIENCE 5 YEAR IN SUGAR FACTORY | NO |  | 8 | 0
30 | MMSSKM | NS | 2025 | 10297 | MPI TESTING OF TRANSMISSION PINION & GEAR ,MINIMUM WORK EXPERIENCE 5 YEAR IN SUGAR FACTORY | NO |  | 4 | 0
31 | MMSSKM | NS | 2025 | 10298 | MPI TESTING OF MILL HEAD STOCK ,MINIMUM WORK EXPERIENCE 5 YEAR IN SUGAR FACTORY | NO |  | 4 | 0
32 | MMSSKM | NS | 2025 | 10299 | MPI TESTING OF MILL TAIL BAR ,MINIMUM WORK EXPERIENCE 5 YEAR IN SUGAR FACTORY | NO |  | 4 | 0
33 | MMSSKM | NS | 2025 | 10301 | BOILER & ECONOMISSOR, SUPER HEATER TUBE THICKNESS TESTING COMPLETE JOB - BOILER TUBE THICKNESS TESTING FROM APPROVED I.B.R AGENCY AS INDIAN BOILER ACT BOILER CAPACITY - 65 TON/LTR WORKING PRESSURE - 67 KG/CM2 HEATING SURFACE - 2872 M2 BOILER & ECONOMISSER THICKNESS TESTING ,MINIMUM WORK EXPERIENCE 5 YEAR IN SUGAR FACTORYTECH | SET |  | 1 | 0
34 | MMSSKM | NS | 2025 | 10302 | THICNESS TESTING OF BOILER FEED TANK ,MINIMUM WORK EXPERIENCE 5 YEAR IN SUGAR FACTORYTECH | SET |  | 2 | 0
35 | MMSSKM | NS | 2025 | 10303 | THICNESS TESTING OF PAN BODIES ,MINIMUM WORK EXPERIENCE 5 YEAR IN SUGAR FACTORYTECH | NO |  | 5 | 0
36 | MMSSKM | NS | 2025 | 10304 | THICNESS TESTING OF QUAD BODY, SEMIKESTNER BODY ETC. ,MINIMUM WORK EXPERIENCE 5 YEAR IN SUGAR FACTORY | SET |  | 7 | 0
37 | MMSSKM | NS | 2025 | 10305 | THICNESS TESTING OF CLARIFIER BODY ,MINIMUM WORK EXPERIENCE 5 YEAR IN SUGAR FACTORY | SET |  | 1 | 0
38 | MMSSKM | NS | 2025 | 10306 | THICNESS TESTING OF INJECTION COMMON HEADER ,MINIMUM WORK EXPERIENCE 5 YEAR IN SUGAR FACTORY | SET |  | 1 | 0
39 | MMSSKM | NS | 2025 | 10307 | THICNESS TESTING OF B&C VACUM CRYSTLIZER ,MINIMUM WORK EXPERIENCE 5 YEAR IN SUGAR FACTORY | SET |  | 3 | 0
40 | MMSSKM | NS | 2025 | 10308 | THICNESS TESTING OF MOLLASES STORAGE TANK ,MINIMUM WORK EXPERIENCE 5 YEAR IN SUGAR FACTORY | NO |  | 2 | 0
41 | MMSSKM | NS | 2025 | 10310 | THICKNESS TESTING OF EXHAUST & VAPOUR PIPE LINE ,MINIMUM WORK EXPERIENCE 5 YEAR IN SUGAR FACTORY | NO |  | 1 | 0
42 | MMSSKM | NS | 2025 | 8985 | SUPPLY AND FITTING OF PVC WALL PANNEL AS PER INSTRUCTION,WITH ALL ACCESSORIES,AND ALL MATERIAL SUPER HEAVY ,RATE - PER SQUARE FEET | Sq.Ft |  | 100 | 0
43 | MMSSKM | NS | 2025 | 8986 | SUPPLY AND FITTING OF PVC FALL CEILING, ,AS PER INSTRUCTION,WITH ALL ACCESSORIES,AND ALL MATERIAL SUPER HEAVY ,RATE - PER SQUARE FEET | Sq.Ft |  | 100 | 0
44 | MMSSKM | NS | 2025 | 8987 | PROVIDING ,MAKING AND FITTING OF DECORATIVE TABLE , (SIDE WORK) ,AS PER INSTRUCTION,MAKING BY CENTURY PLY,GRADE-710 ,MIN.THICKNES OF PLY - 11/4 INCH ,WITH ALL ACCESSORIES,AND ALL MATERIAL. ,RATE - PER SQUARE FEET | Sq.Ft |  | 50 | 0
45 | MMSSKM | NS | 2025 | 8988 | PROVIDING ,MAKING AND FITTING OF DECORATIVE SIDR TABLE (SIDE WORK) ,AS PER INSTRUCTION,MAKING BY CENTURY PLY,GRADE-710 ,MIN.THICKNES OF PLY - 11/4 INCH ,WITH ALL ACCESSORIES,AND ALL MATERIAL. ,RATE - PER SQUARE FEET | Sq.Ft |  | 50 | 0
46 | MMSSKM | NS | 2025 | 8989 | SUPPLY AND FITTING OF ALLUMINIUM,PLY AND GLASS,FOR CABING (WITH MATERIAL,GLASS , PLY AND ALL MATERIAL, THICKNESS OF PLY AND GLASS - 8 MM ) ,RATE - PER SQUIRE FEET. | Sq.Ft |  | 100 | 0
47 | MMSSKM | NS | 2025 | 8754 | BRICKS WORK WITH MATERIAL BRICK WORK WITH MODULAR FLY ASH LIME BRICKS (FALG BRICKS) CONFIRMING TO IS:12894-2002 OF CLASS DESIGNATION 40 IN FOUNDATION AND PLINTH IN CEMENT MORTAR 1:6 (1 CEMENT : 6 COARSE SAND) | Cu.Mtr. |  | 50 | 0
48 | MMSSKM | NS | 2025 | 8755 | PLASTRING UNDER 12MM THICKNESS 12 MM THICK CEMENT PLASTER OF MIX IN CEMENT MORTAR 1:5 (1 CEMENT : 5 FINE SAND) | Sq.mtr |  | 50 | 0
49 | MMSSKM | NS | 2025 | 8757 | PLASTERING UPPER 12MM TO 18MM THICK 18 MM THICK CEMENT PLASTER WITH UNDER LAYER OF 12 MM THICK CEMENT PLASTER 1:5 (1 CEMENT : 5 FINE SAND) AND FINISHED WITH TOP LAYER OF 6 MM THICK CEMENT PLASTER 1:3 (1 CEMENT : 3 FINE SAND) | Sq.mtr |  | 50 | 0
50 | MMSSKM | NS | 2025 | 8762 | RENOVATION OF HOT WATER RCC TANK Size - L- 10.20 Mtr , W - 10.50 Mtr, Depth- 3.60 Mtr,As per Existing Tank. | NO |  | 1 | 0

## REFERENCE
Department Name | Code | SOR Name | SOR | UOM Name | UOM Code | false180109
36 Incubation Center (AIC 36Inc) Chhattisgarh(36INC) | 36INC | PHE | PHE | Percentage | %
ASSISSTANT COMMISSIONAR TRIBAL DEVELOPMENT NARAYANPUR C.G(ACTDN) | ACTDN | PHED | PHED1 | % of Cost of Bridge (excluding Maintenance) sanctioned by competent authority | % of Cost of Bridge (excluding Maintenance) sanctioned by competent authority
Assistant commissioner tribal department Dantewada(ACTDD) | ACTDD | RES_BUILDING | RESBDG | Per mile | %O
Atal Bihari Vajpayee Vishvavidyalaya,Bilaspur Chhattisgarh(ABVVBC) | ABVVBC | NON DSR BUILDING 2018 | NON DSR BUILDING | 1 Job | 1 Job
Balod District Urban Public Service Society(BALDUPSS) | BALDUPSS | BRIDGE | PWD_BRIDGE | 1000 no. | 1000 no.
Baloda Bazar District Urban Public Service Society(BBDUPSS) | BBDUPSS | DSR BUILDING 2016 | DSR BUILDING | 1000 piece | 1000 piece
Balrampur District Urban Public Service Societ(BPDUPSS) | BPDUPSS | NON SOR | NS | 1000No. | 1000No.
Bastar District Urban Public Service Society(BASTARJUPS) | BASTARJUPS | CPWD DSR 2016 | CPWD DSR 2016 | Print | 123
Bastar Urban Public Service Society (BSTUPSS) | BSTUPSS | PWD ROAD | PWD ROAD | Per Diem Rate | 1234
Bemetara District Urban Public Service Society(BEMDUPSS) | BEMDUPSS | WRD | WRD | MAN DAYS | 12345
Bhoramdev Sahakari Sugar Production Factory-Kabirdham(BSSPFK) | BSSPFK | ELECTRIC | ELECT | 1 Box | 1B
Bijapur District Urban Public Service Society(BIJAPURUPS) | BIJAPURUPS | PMGSY SOR | PMGSY | 1 Piece | 1P
Bilaspur District Urban Public Service Society(BJUPSS) | BJUPSS | Creda SOR | CREDA_SOR | 1 Strip | 1S
Bilaspur Smart City Limited(BSCL) | BSCL | PWD BUILDLING | PWD BLD | 1 Tube | 1T
Bilaspur Urban Public Service Society (BSPUPSS) | BSPUPSS | DSR ELECTRICAL 2016 | DSR ELECTRICAL | PRINT | 678
CG Building and other Construction workers welfare Board (CGBOCW) | CGBOCW |  |  | Siemens Per meter | A/V
Chhattisgarh Academy of Administration Nimora Raipur(CAOANR) | CAOANR |  |  | Acre | ACR
Chhattisgarh Board of Secondary Education(CBOSE) | CBOSE |  |  | AMC | AMC
Chhattisgarh Council of Science &amp; Technology(CCST) | CCST |  |  | AMPOULE | AMP
Chhattisgarh Department of Agriculture (CGDA) | CGDA |  |  | Price Should be quoted as per SKU in Aneexure-I of Tender Document | APT
CHHATTISGARH ENVIRONMENT CONSERVATION BOARD(CECB) | CECB |  |  | As per Tender | APT1
Chhattisgarh Government Labour Department(CGLD) | CGLD |  |  | Single Rate (1 Tablet/1 capsule/1 Amp/1 Vial /1 Bottle/1 Kit/1 Test Kit) | APT2
Chhattisgarh Handicraft Board (CGHCB) | CGHCB |  |  | Activity unit | AU
Chhattisgarh High Court, Bilaspur (CGHC) | CGHC |  |  | Bag | BAG
Chhattisgarh Housing Board (CGHB) | CGHB |  |  | barrel | barrel
Chhattisgarh Infotech Promotion Society (CHiPS) | CHiPS |  |  | Batch | Batch
Chhattisgarh Kamdhenu Vishwavidyalaya(CGKV) | CGKV |  |  | BHQ | BHQ
Chhattisgarh Khadi &amp; Village Industries Board(CGKVIB) | CGKVIB |  |  | Book | BK
Chhattisgarh livestock development Agency(CLDA) | CLDA |  |  | BOTTLE | BOT
Chhattisgarh Medical Services Corporation Ltd. (CGMSC) | CGMSC |  |  | Box | BOX
Chhattisgarh Mineral Development Corporation Ltd(CMDC) | CMDC |  |  | Gallons per hour (US) | BPH
Chhattisgarh Police Housing Corporation Ltd (CGPHC) | CGPHC |  |  | Brass | Brass
Chhattisgarh Railway Corporation Ltd(CRCL) | CRCL |  |  | Billing Rate Per Month | BRM
Chhattisgarh Rajya Beej Evam Krishi Vikas Nigam (CGRBEKVN) | CGRBEKVN |  |  | Bottle | BT
Chhattisgarh Rajya Sahakari Bank Mydt(CRSBM) | CRSBM |  |  | Bundle | Bundle
Chhattisgarh Regional Science Centre Society(CRSCS) | CRSCS |  |  | Cubic sentimeter /second | C3S
Chhattisgarh Road Development Corporation Limited(CGRDC) | CGRDC |  |  | Canister | CAN
Chhattisgarh State Civil Supplies Corp. Limited (SCSC) | SCSC |  |  | Carton | CAR
Chhattisgarh State Co-Operative Marketing Federation Limited(CGMARKFED) | CGMARKFED |  |  | Cubic Centimeter | CCM
Chhattisgarh State Cooperative Dairy Federation Ltd.(CGCDF) | CGCDF |  |  | Cubic decimeter | CD3
Chhattisgarh State Election Commission(CSEC) | CSEC |  |  | Centiliter | CL
Chhattisgarh State Industrial Development Corporation (CSIDC) | CSIDC |  |  | cm | cm
Chhattisgarh State Information Infrastructure Corporation Limited(CSIICL) | CSIICL |  |  | Centimeter | CM
Chhattisgarh State Mandi Board (CGSMB) | CGSMB |  |  | Square centimeter | CM2
Chhattisgarh State Minor Forest Produce-Trading & Development Co-Operative Federation Ltd (CGMFPFED) | CGMFPFED |  |  | coils | coils
Chhattisgarh State Power Distribution Company Limited (CGSPDCL) | CGSPDCL |  |  | COILS | Coils
Chhattisgarh State Power Generation Company Limited (CGSPGCL) | CGSPGCL |  |  | CONE | CONE
Chhattisgarh State Power Transmission Company Limited (CGSPTCL) | CGSPTCL |  |  | Copies | Copies
Chhattisgarh State Renewable Energy Development Agency(CREDA) | CREDA |  |  | Crate | CRT
Chhattisgarh State Skill Development Authority(CSSDA) | CSSDA |  |  | Case | CS
Chhattisgarh State Warehousing Corporation (CGSWC) | CGSWC |  |  | Cu.Mtr. | Cu.Mtr.
Chhattisgarh Text Book Corporation (CGTBC) | CGTBC |  |  | cubic feet | cubic feet
CHHATTISGARH TOURISM BOARD(CGT) | CGT |  |  | cubic feet (CFT) | cubic feet (CFT)
Chhattisgarh Transport Department(CTD) | CTD |  |  | cum | cum
CHIEF MEDICAL AND HEALTH OFFICER RAIGARH(CMAHOR) | CMAHOR |  |  | cum.km | cum.km
Collectorate Balod(CB) | CB |  |  | Days | DAY
Danteshwari Maiya Shahkari Shakkar Karkhana Maryadit Balod(DMSSK) | DMSSK |  |  | Degree | DEG
Dantewada District Urban Public Service Society(DANTEWADAU) | DANTEWADAU |  |  | DFLT | DFLT
Department of Home Guard and Civil Defence Chhattisgarh (HGCD) | HGCD |  |  | DHQ | DHQ
Department of Panchayat and Social Welfare (DPSW) | DPSW |  |  | DHQ-BHQ | DHQ-BHQ
Department of School Education (DSE) | DSE |  |  | Decimeter | DM
Department of Technical Education (DTE) | DTE |  |  | Drum | DR
Department of Tribal and Scheduled Caste Manendragarh-Chirmiri-Bharatpur(DTSCMCB) | DTSCMCB |  |  | DRUM | DRUM
Department of Women and Child Development(WCD) | WCD |  |  | Dozen | DZ
Dhamtari Jila Urban Public Service Society(DJUPSS) | DJUPSS |  |  | EACH | EA
Directorate Financial Management and Information System(DFMAIS) | DFMAIS |  |  | each | each
Directorate Horticulture and Farm Forestry, Chhattisgarh(DHF) | DHF |  |  | EACH | EACH
Directorate of Printing and Stationery(DOPAS) | DOPAS |  |  | each additional floor | each additional floor
Directorate of Archaeology, Archives and Museum(DAAM) | DAAM |  |  | Each Courty | Each Court
Directorate of Aviation(DoA) | DoA |  |  | each cut | each cut
Directorate of CG Food And Civil Supplies and Consumer Protection(DSCSC) | DSCSC |  |  | EACH FRAME | EACH FRAME
Directorate of Culture and Archaeology Chhattisgarh(DOCAAC) | DOCAAC |  |  | Each rol | Each rol
Directorate of Culture and Language(DCL) | DCL |  |  | each test | each test
Directorate of Fisheries (DF) | DF |  |  | each tree guard | each tree guard
Directorate of Higher Education Chhattisgarh(DOHEC) | DOHEC |  |  | each tree guard | each tree guard
Directorate of Industries(DOI) | DOI |  |  | Each box | EB
Directorate of Institutional Finance(DIF) | DIF |  |  | Enzyme Units / Milliliter | EML
Directorate of Local Fund Audit(DOLFA) | DOLFA |  |  | Each TAPE | ET
Directorate of Social Welfare Chhattisgarh(DSWC) | DSWC |  |  | Enzyme Units | EU
Directorate of Sports and Youth Welfare(DSYW) | DSYW |  |  | For each (Unit) Quantity | For each (Unit) Quantity
Directorate of Treasury Accounts &amp; Pension, Chhattisgarh(DTAPC) | DTAPC |  |  | For each PPE KIT | For each PPE KIT
Directorate of Tribal and Schedule Caste Development(DTSCD) | DTSCD |  |  | For each Test KIT | For each Test KIT
Directorate of Tribal Research and Training Institute(DOTRATI) | DOTRATI |  |  | For each VTM Kit | For each VTM Kit
Directorate of Veterinary Services Chhattisgarh(DVSC) | DVSC |  |  | Fluid Ounce US | FOZ
DISTRICT POLICE KORBA(DPK) | DPK |  |  | Feet | FT
Durg District Urban Public Service Society(DDUPSS) | DDUPSS |  |  | Square foot | FT2
Durg-Bhilai Urban Public Service Society (DBUPSS) | DBUPSS |  |  | Cubic Foot | FT3
Food and Drug Administration (FDA) | FDA |  |  | Gigajoule | FY
Forest Department(FD) | FD |  |  | Gram | G
Gariaband District Urban Public Service Society(GDUPSS) | GDUPSS |  |  | gram act.ingrd /liter | G/L
Gaurella Pendra Marwahi District Urban Public Service Society(GPMDUPSS) | GPMDUPSS |  |  | US gallon | GAL
Health Department (HD) | HD |  |  | Gram Gold | GAU
IIIT Naya Raipur(IIITNR) | IIITNR |  |  | Gram act.ingrd. | GI
Indira Gandhi Krishi Vishwavidyalaya (IGKV) | IGKV |  |  | Gram /liter | GLI
Inspector General of Registration and Superintendent of Stamps(IGRS) | IGRS |  |  | Gram/Mol | GM
Janjgir Champa District Urban Public Service Society(JCDUPSS) | JCDUPSS |  |  | Gram/Kilogram | gm/kg
Jashpur District Urban Public Service Society(JASDUPSS) | JASDUPSS |  |  | Gram /square meter | GM2
Jila Nirman Samiti Jagdalpur(JNSJ) | JNSJ |  |  | Gram/Cubic meter | GM3
Jila Nirman Samiti Narayanpur(JNSN) | JNSN |  |  | Gigaohm | GOH
Jila Sahakari Kendariya Bank Mydt. Raipur(JSKBM) | JSKBM |  |  | Gallons per mile (US) | GPM
Jila Sahakari Kendriya Bank Mydt. Durg (CG)(JSKBMD) | JSKBMD |  |  | Gross | GRO
Kanker District Urban Public Service Society(KANDUPSS) | KANDUPSS |  |  | Hour | H
Kawardha District Urban Public Service Society(KAWDUPSS) | KAWDUPSS |  |  | Hectare | HA
Kondagaon District Urban Public Service Society(KONUPSS) | KONUPSS |  |  | hectare | hectare
Korba District Urban Public Service Society(KJUPSS) | KJUPSS |  |  | Hectoliter | HL
Korba Urban Public Service Society (KRBAUPSS) | KRBAUPSS |  |  | hour | hour
Korea District Urban Public Service Society(KDUPSS) | KDUPSS |  |  | Horse power | HP
Koriya Urban Public Transport Society (KRYAUPTS) | KRYAUPTS |  |  | Hours | HR
Lauh Purush Sugar Plant, Pandariya(LSPSSKM) | LSPSSKM |  |  | Hours | Hrs
Livestock Development Department(LDD) | LDD |  |  | hundred Pieces | hundred Pieces
Maa danteshwari Maize processing and marketing cooperative society ltd. Kondagaon(MDMPMCSL) | MDMPMCSL |  |  | HALF YEARLY | HY
Maa Mahamaya Shahkari Shakkar Karkhana Maryadit Ambikapur(MMSSKM) | MMSSKM |  |  | I/O Point | I/O Point
Mahasamund District Urban Public Service Society(MDUPSS) | MDUPSS |  |  | INHALER | INH
Mahatma Gandhi University of Horticulture and Forestry(MGUHF) | MGUHF |  |  | Indian Rupees | INR
Mineral Resources Department -Mining (MRD) | MRD |  |  | JAR | JAR
Mungeli District Urban Public Service Society(MUDUPSS) | MUDUPSS |  |  | Joule /kilogram | JKG
Narayanpur District Urban Public Service Society(NDUPSS) | NDUPSS |  |  | Joule /Mol | JMO
Nava Raipur Atal Nagar Smart City Corporation Limited(NRANSCCL) | NRANSCCL |  |  | Job | Job
Nava Raipur Atal Nagar Vikas Pradhikaran (NRANVP) | NRANVP |  |  | joint | joint
Office of Chief Electoral Officer, Chhattisgarh(OCEO) | OCEO |  |  | Kilogram act.ingrd | KAI
Office of collector Raigarh(OCR) | OCR |  |  | Kilogram /cubic decimeter | KD3
Office of Commissioner Land Records Chhattisgarh(OCLR) | OCLR |  |  | kg | kg
Office of District Collector Tribal welfare Department Bijapur(ODCTWDB) | ODCTWDB |  |  | Kgs | Kg
Office of Superintendent of Police, District- Mahasamund(OSPM) | OSPM |  |  | Kilogram | KG
Office of Superintendent of Police, District-Balod(OSPDB) | OSPDB |  |  | Kilogram/Mol | KGM
Panchayat and Rural Development (PARD) | PARD |  |  | Kilogram /Second | KGS
Police Headquarter Chhattisgarh(PHQ) | PHQ |  |  | Kilogram / cubic meter | KGV
Public Health Engineering Department (PHED) | PHED |  |  | kg act.ingrd /kg | KIK
Public Works Department (PWD) | PWD |  |  | KILOWATT | KILOWATT
Raigarh District Urban Public Transport Society(RDUPTS) | RDUPTS |  |  | KIT | KIT
Raigarh Urban Public Service Society (RIGUPSS) | RIGUPSS |  |  | Kilojoule/kilogram | KJK
Raipur Collectorate (RC) | RC |  |  | Kilojoule/Mol | KJM
Raipur Development Authority (RDA) | RDA |  |  | Kilo Litre | KL
Raipur District Urban Public Service Society(RAIPURDUPS) | RAIPURDUPS |  |  | Km | Km
Raipur Smart City Limited(RSCL) | RSCL |  |  | Kilometer | KM
Raipur Urban Public Transport Society (RUPTS) | RUPTS |  |  | km. | km.
Rajnandgaon District Urban Public Service Society(RDUPSS) | RDUPSS |  |  | Square kilometer | KM2
Rajnandgaon Urban Public Service Society (RNDGUPSS) | RNDGUPSS |  |  | Kilometer/hour | KMH
Rural Engineering Services (RES) | RES |  |  | Kelvin/Minute | KMN
Samagra Shiksha Chhattisgarh (SSC) | SSC |  |  | Kelvin /Second | KMS
Sarguja District Urban Public Service Society(SRDGUPSS) | SRDGUPSS |  |  | Kilonewton per square meter | KNM
Sarguja Urban Public Service Society (SUPSS) | SUPSS |  |  | Kilopascal | KPA
State Tax Chhattisgarh(STCG) | STCG |  |  | Kilotonne | KT
State Urban Development Agency (SUDA) | SUDA |  |  | Kilovoltampere | KVA
Sukma District Urban Public Service Society(SUKDUPSS) | SUKDUPSS |  |  | KWH | KWH
Surajpur District Urban Public Service Society(SRJDUPSS) | SRJDUPSS |  |  | KILOWATT POWER | KWP
Swachh Bharat Mission (Gramin) Panchayat and Rural Development Department(SBMPARDD) | SBMPARDD |  |  | kwp-dc | kwp-dc
Tribal and Scheduled Caste Development Department(Mohla Manpur Ambagarh Chauki)(TASCDDMMAC) | TASCDDMMAC |  |  | US Pound | LB
Tribal Welfare Department, District Sukma(TWDDS) | TWDDS |  |  | lemgth | lemgth
Tribal Welfare Development Department ( Balrampur-Ramanujganj)(TWDDBR) | TWDDBR |  |  | length | length
Tribal Welfare Development Department (Balod- Collectorate)(TWDDBALOD) | TWDDBALOD |  |  | Liter per 100 km | LHK
Tribal Welfare Development Department (Bilaspur)(TWDDBILASP) | TWDDBILASP |  |  | litre | litre
Tribal Welfare Development Department (Dhamtari)(TWDDDT) | TWDDDT |  |  | Liter /Minute | LMI
Tribal Welfare Development Department (Gariyaband)(TWDD) | TWDD |  |  | Liter /Molsecond | LMS
Tribal Welfare Development Department (Gaurella-Pendra-Marwahi-Collectorate)(TWDDGPM) | TWDDGPM |  |  | LOT | LOT
Tribal Welfare Development Department (Jagdalpur- Collectorate)(TWDDJDP) | TWDDJDP |  |  | Liter Per hour | LPH
Tribal Welfare Development Department (Kabeerdham Collectorate)(TWDDKC) | TWDDKC |  |  | Lumpsum | LS
Tribal Welfare Development Department (Kanker)(TWDDKANKER) | TWDDKANKER |  |  | LITRE | LT
Tribal Welfare Development Department (Koriya)(TWDDKORIYA) | TWDDKORIYA |  |  | lumpsump | lumpsump
Tribal welfare development Department (Mahasamund)(TWDDMSD) | TWDDMSD |  |  | Meter | M
Tribal Welfare Development Department (Mungeli-Collectorate)(TWDDMC) | TWDDMC |  |  | 1/square meter | M-2
Tribal Welfare Development Department (Rajnandgaon Collectorate)(TWDDRJN) | TWDDRJN |  |  | Mol per cubic meter | M:M
Tribal Welfare Development Department (Surajpur Collectorate)(TWDDSC) | TWDDSC |  |  | Megawatt hours | M..
Tribal Welfare Development Department Balodabaza Bhatapara(TWDDBB) | TWDDBB |  |  | M.T. | M.T.
Tribal Welfare Development Department Durg(TWDDD) | TWDDD |  |  | Meter /Hour | M/H
Tribal Welfare Development Department Khairagarh -Chhuikhadan -Gandai (Collectorate)(TWDDKCG) | TWDDKCG |  |  | Mol per liter | M/L
Tribal Welfare Development Department Kondagaon(TWDDK) | TWDDK |  |  | Meter /second | M/S
Tribal Welfare Development Department Raigarh(TWDDRG) | TWDDRG |  |  | Square meter | M2
Tribal Welfare Development Department, Jashpur(TWDDJSP) | TWDDJSP |  |  | Square meter/Coat | M2C
Tribal Welfare Development Department(Ambikapur-Collectorate)(TWDDABK) | TWDDABK |  |  | Square meter/second | M2S
Tribal Welfare Development Department(Bemetara Collectorate)(TWDDBC) | TWDDBC |  |  | Cubic meter | M3
Tribal Welfare Development Department(Korba-Collectorate)(TWDDKORBA) | TWDDKORBA |  |  | Cubic meter /Hour | M3H
Tribal Welfare Development Department(Raipur-Collectorate)(TWDDRC) | TWDDRC |  |  | Cubic meter/second | M3S
Tribal Welfare DevelopmentDepartment(Janjgir-Champa-Collectorate)(TWDDJCC) | TWDDJCC |  |  | Man days | Man days
Urban Administration and Development Department (UADD) | UADD |  |  | Man-Month | Man-Month
Water Resources Department (WRD) | WRD |  |  | ManDay | ManDay
Zila Nirman Samiti Bijapur(ZNSB) | ZNSB |  |  | Manmonth | Manmonth
Zila Panchayat Dhamtari(ZPD) | ZPD |  |  | Mbps | Mb
Zila Panchayat Raipur(ZPR) | ZPR |  |  | Megajoule | MEJ
|  |  |  | meter | meter
|  |  |  | metre | metre
|  |  |  | Milligram | MG
|  |  |  | Milligram/liter | MGL
|  |  |  | Megohm | MGO
|  |  |  | Milligram /cubic meter | MGQ
|  |  |  | Megavolt | MHV
|  |  |  | Mile | MI
|  |  |  | Square mile | MI2
|  |  |  | Minute | MIN
|  |  |  | Microsecond | MIS
|  |  |  | Milliliter | ML
|  |  |  | ML/GM/KG | ML/GM/KG
|  |  |  | Milliliter/ Liter | ml/l
|  |  |  | Milliliter act.ingr. | MLI
|  |  |  | Millimeter | MM
|  |  |  | Square millimeter | MM2
|  |  |  | Cubic millimeter | MM3
|  |  |  | Meganewton | MN
|  |  |  | Millinewton/meter | MNM
|  |  |  | Months | MON
|  |  |  | Miles per gallon (UG) | MPG
|  |  |  | Millimol per liter | MPL
|  |  |  | Millipascal seconds | MPS
|  |  |  | Millisecond | MS
|  |  |  | Meter/second squared | MS2
|  |  |  | Microsiemens per centimeter | MSC
|  |  |  | METRIC TON | MT
|  |  |  | MTR | MTR
|  |  |  | Nanoampere | NA
|  |  |  | Nanometer | NAM
|  |  |  | Number Days | ND
|  |  |  | Kilonewton | NI
|  |  |  | Newton/meter | NM
|  |  |  | Newton/Square millimeter | NMM
|  |  |  | Number | NO
|  |  |  | Nanosecond | NS
|  |  |  | one RCC jaali tree guard | one RCC jaali tree guard
|  |  |  | one RCC jaali tree guard | one RCC jaali tree guard
|  |  |  | Ounce | OZ
|  |  |  | Points | P
|  |  |  | P.cmt | P.cmt
|  |  |  | P.cumt. | P.cumt.
|  |  |  | P.KG / P.LTR | P.KG / P.LTR
|  |  |  | PER KG | P.KG.
|  |  |  | P.Kit | P.Kit
|  |  |  | P.Km. | P.Km.
|  |  |  | P.mtr | P.mtr
|  |  |  | P.Pair | P.Pair
|  |  |  | P.Point | P.Point
|  |  |  | Per Running Meter Per Box | P.R.M.P.BOX
|  |  |  | p.sq.mtr | p.sq.mtr
|  |  |  | P/sq.Mt. | P/sq.Mt.
|  |  |  | Per 100 kw per set | P100KW
|  |  |  | Pair | PAA
|  |  |  | Pack | PAC
|  |  |  | pack | pack
|  |  |  | Package | Package
|  |  |  | Pad | PAD
|  |  |  | page | page
|  |  |  | Pair | Pair
|  |  |  | Pallet | PAL
|  |  |  | part | part
|  |  |  | Pascal second | PAS
|  |  |  | Per Patient | Patient
|  |  |  | PER BRIDGE | PB
|  |  |  | Per Bed | PB1
|  |  |  | Per Bale Per KM | PBPK
|  |  |  | Piece | PC
|  |  |  | Megavoltampere | PCT
|  |  |  | per cm height per letter | per cm height per letter
|  |  |  | per cm height per letter | per cm height per letter
|  |  |  | per day | per day
|  |  |  | PER BAG | PER BAG
|  |  |  | Per bale | Per bale
|  |  |  | per bar | per bar
|  |  |  | PER CANDIDATE | PER CANDIDATE
|  |  |  | Per Candidate Per Exam | Per Candidate Per Exam
|  |  |  | per conversation | per conversation
|  |  |  | per cubic centimeter | per cubic centimeter
|  |  |  | per day | per day
|  |  |  | Per Diem Rate | Per Diem Rate
|  |  |  | Per Doz | Per Doz
|  |  |  | per HP | per HP
|  |  |  | PER HUNDRED PIECES | PER HUNDRED PIECES
|  |  |  | PER ITEM | PER ITEM
|  |  |  | Per Kg | Per Kg
|  |  |  | PER KL | PER KL
|  |  |  | Per Km. | Per Km.
|  |  |  | PER KILOWATT | PER KW
|  |  |  | per letter | per letter
|  |  |  | Per Ltr | Per Ltr
|  |  |  | per month | per month
|  |  |  | Per MT | Per MT
|  |  |  | Per mtr | Per mtr
|  |  |  | Per packet | PER PACKET
|  |  |  | per page | per page
|  |  |  | PER PAGE | PER PAGE
|  |  |  | Per person | PER PERSON
|  |  |  | Per person per day | Per person per day
|  |  |  | PER PERSON PER DAY | PER PERSON PER DAY
|  |  |  | Per piece | PER PIECE
|  |  |  | Per Plants | Per Plants
|  |  |  | PER POLE | PER POLE
|  |  |  | PER POLICY | PER POLICY
|  |  |  | per pouch | per pouch
|  |  |  | per quintal | per quintal
|  |  |  | Per running feet | PER RUNNING FEET
|  |  |  | Per Set | Per Set
|  |  |  | PER SHEET | PER SHEET
|  |  |  | Per Sqr Km | Per Sqr Km
|  |  |  | Per square km | Per square km
|  |  |  | PER STICKER | PER STICKER
|  |  |  | Per Tanker | Per Tanker
|  |  |  | per test | per test
|  |  |  | Per thousand | PER THOUSAND
|  |  |  | per tonne | per tonne
|  |  |  | per tonne capacity | per tonne capacity
|  |  |  | per trip | per trip
|  |  |  | Per unit | PER UNIT
|  |  |  | per.mtr | per.mtr
|  |  |  | percentage of DPR cost | percentage of DPR cost
|  |  |  | UNP1 | Percentage of Project Cost
|  |  |  | PER SQUARE FEET | PERSQF
|  |  |  | PER BOREHOLE | PH
|  |  |  | Per HP Per Set | PHPPS
|  |  |  | per Hactare - per year | PHPY
|  |  |  | 1/minute | PMI
|  |  |  | Per Machine Per Session | PMPS
|  |  |  | Pikofarad | PO
|  |  |  | percentage of DPR cost | PODPRC
|  |  |  | Point | Point
|  |  |  | Per Piece 500 ml bottle | PP500ML
|  |  |  | Parts per billion | PPB
|  |  |  | Per Page Cost | PPC
|  |  |  | Parts per million | PPM
|  |  |  | PER POINT | PPNT
|  |  |  | Per Pack Price | PPP
|  |  |  | Per Person Per Month | PPPM
|  |  |  | Per Person Per Month Per Shift | PPPMPS
|  |  |  | Per Patient | PPT
|  |  |  | Per Roll | PR
|  |  |  | Per Rig | PRG
|  |  |  | Print | Print
|  |  |  | PER UNIT PER MONTH | PRPM
|  |  |  | Number of persons | PRS
|  |  |  | Picosecond | PS
|  |  |  | Pound Per Sq inch | PSI
|  |  |  | COST PER SITE LOCATION/ PER DIGITAL MAP | PSLPDM
|  |  |  | Per Square Feet Per Month | PSQPM
|  |  |  | Pint, US liquid | PT
|  |  |  | Per Ton Per KM | PTPK
|  |  |  | Per Unit Per Month | PUPM
|  |  |  | PER UNIT PER YEAR | PUPYR
|  |  |  | Kilomol | QML
|  |  |  | QUINTAL | QNTL
|  |  |  | Quart, US liquid | QT
|  |  |  | QUARTER | qtr
|  |  |  | quintal | quintal
|  |  |  | Nanofarad | R-U
|  |  |  | R.M. | R.M.
|  |  |  | Millifarad | RF
|  |  |  | Gramm/cubic centimeter | RHO
|  |  |  | Rim | RIM
|  |  |  | Ream | RM
|  |  |  | Running Meter | Rmt
|  |  |  | RUNNING METRE | RMT
|  |  |  | Role | ROL
|  |  |  | Roll | Roll
|  |  |  | Roll | Roll_UD
|  |  |  | Rate Per Bale | RPB
|  |  |  | Set | Set
|  |  |  | SET | SET
|  |  |  | SHEET | SHEET
|  |  |  | SHQ | SHQ
|  |  |  | Square feet | Sq.Ft
|  |  |  | Sq.mtr | Sq.mtr
|  |  |  | Square Meter | sqm
|  |  |  | SEAT | ST
|  |  |  | SYRUP | SYP
|  |  |  | TCS | TCS
|  |  |  | Thousand Hours | THR
|  |  |  | Tin | Tin
|  |  |  | Tonnes | TO
|  |  |  | Ton/Cubic meter | TOM
|  |  |  | US Ton | TON
|  |  |  | Tone | Tone
|  |  |  | Tonne | Tonne
|  |  |  | Thousand | TS
|  |  |  | TUBE | TUB
|  |  |  | Tube | Tube
|  |  |  | For each Test KIT | UN1
|  |  |  | Rate Per 1000 Pcs | UN1000
|  |  |  | For each PPE KIT | UN2
|  |  |  | For each (Unit) Quantity | UN3
|  |  |  | For each VTM Kit | UN4
|  |  |  | FOR EACH TEST | UN5
|  |  |  | For Each Kit | UN8
|  |  |  | UNIT | UNIT
|  |  |  | UNIT | UNIT1
|  |  |  | Percentage of Project Cost | UNP
|  |  |  | for each Vehicle | UNV
|  |  |  | USERS | USERS
|  |  |  | Voltampere | VA
|  |  |  | Vo mat. | VAL
|  |  |  | VIAL | VIA
|  |  |  | weeks | WK
|  |  |  | DEFAULT UNIT DESCRIPTION | XXX
|  |  |  | Yard | YD
|  |  |  | Square Yard | YD2
|  |  |  | Cubic yard | YD3
|  |  |  | Year | Year
|  |  |  | Years | YR
|  |  |  | Microampere | µA
|  |  |  | Microfarad | µF
|  |  |  | Microgram /liter | µGL
|  |  |  | Microgram /cubic meter | µGQ
|  |  |  | Microliter | µL
|  |  |  | Micrometer | µM