## TENDER_ITEM_UPLOAD
To enable entering data into the sheet, please click on 'Enable Editing'.
Please insert items from 12th row.
Every row will be considered as a distinct item.
The row, in which the two fields- 'Item Code' and 'Description' are blank, will not be considered.
If 'CREDIT ITEM' is not entered, default value '0' will be taken.
If 'Calc Field' is not entered, default value 'N' will be taken.
MAX ITEM LIMIT IN EACH EXCEL FILE IS 1000
SERIAL No. | Department | SOR | Year | Item Code | Description | UOM | Rate | Quantity | Amount | Ref Serial No | CREDIT ITEM (0/1) | Calc Field(Y/N) | Offset/Reserve Price | EMD Amount
1 | MMSSKM | NS | 2026 | 7885 | AIR CIRCUIT BREAKER MODULE 32 T8 IN 2000A UC-5000V, ICU-66KA, ICS-66KA, ICW-60KA, ELECTRONIC RELAY - ETU2W FIXED TYPE. IDENITY NO-664128924051, CAT NO- 3WT8161-1AA00-0AA2. MAKE - SIEMENS. DISTRIBUTER CERTIFICATE FROM PURCHASE FIRM AND PURCHASE INVOICE OR MATERICAL PURCHAE CERTIFICATE, WITH INSTALLATION & TRAIL COMPLETE WORKS | NO |  | 1 | 0
2 | MMSSKM | NS | 2026 | 7886 | AIR CIRCUIT BREAKER MODULE 32T8 IN 1600A 50/60HZ UC-5000V, ICU-66KA, ICS-66KA, ICW-60KA, IDENITY NO-6641281227025 FIXED TYPE, (PCC 3/4) CAT NO- 3WT82202-2AA00-0AA2. MAKE - SIEMENS. DISTRIBUTER CERTIFICATE FROM PURCHASE FIRM AND PURCHASE INVOICE OR MATERICAL PURCHAE CERTIFICATE, WITH INSTALLATION & TRAIL COMPLETE WORKS | NO |  | 1 | 0
3 | MMSSKM | NS | 2026 | 9101 | AMP. METER ANALOG SIZE- 96 X 96 MM, RANGE- 0-900 AMP., INPUT- 4-20mA, MAKE - A.E./ RISHABH | NO |  | 2 | 0
4 | MMSSKM | NS | 2026 | 9596 | BATTERY FOR ONLINE UPS USE IN INDURSTRIES 42AH 12VDC MAKE - LUMINOUS/EXIDE/AMARON/ AMARARAJA | NO |  | 50 | 0
5 | MMSSKM | NS | 2026 | 9368 | C.D.S. TUBE SIZE - 30 MM, ONE LENGTH TESTED RUNNING PRESSURE 400 KG/CM2 | MTR |  | 12 | 0
6 | MMSSKM | NS | 2026 | 9182 | Cable Lugs & Glands Each size | pack |  | 1 | 0
7 | MMSSKM | NS | 2026 | 9485 | CARBON BRUSH GRADE- EG224, SIZE- 32 X 20 X 50 MAKE - K.E. | NO |  | 20 | 0
8 | MMSSKM | NS | 2026 | 250308 | Carbon Brush MC 70 SIZE 16X32X40 MM MAKE-K.E. | NO |  | 13 | 0
9 | MMSSKM | NS | 2026 | 9195 | CHAIN FOR VALVE DRIVE PITCH - 15 MM ,MAKE - USHA MARTIN/SAMSON/INDEF-M | MTR |  | 30 | 0
10 | MMSSKM | NS | 2026 | 9192 | CIRCLIP MODEL- 80-300 FOR R.O. MAKE - STANDARD QUALITY | NO |  | 12 | 0
11 | MMSSKM | NS | 2026 | 7721 | COMENSATING CABLE FOR THERMOCOUPLE K-TYPE 0.5 MM 2CORE COMPENSATING CABLE ( K- TYPE THERMOCOUPLES) MAKE - OMEGA | MTR |  | 30 | 0
12 | MMSSKM | NS | 2026 | 6815 | Digital Indicator (Model 408M, Input 4-20MA MV, 0-10VDC) MAKE - MASIBUS/NORWAY | NO |  | 1 | 0
13 | MMSSKM | NS | 2026 | 6814 | Digital Level Indicator (Range 0-100, Input 4-20MA, Power Supply AC 230V, Digit Size-4) MAKE - MASIBUS/NORWAY | NO |  | 1 | 0
14 | MMSSKM | NS | 2026 | 9400 | DIGITAL UOPPUT MADULE ,MAKE - POWERCON | NO |  | 1 | 0
15 | MMSSKM | NS | 2026 | 6486 | EN-39/45 FLAT IRON 65X10 MAKE-STANDARD QUALITY | KG |  | 50 | 0
16 | MMSSKM | NS | 2026 | 7393 | EN-45 FLAT IRON 100X10 MM MAKE-STANDARD QUALITY | KG |  | 50 | 0
17 | MMSSKM | NS | 2026 | 9281 | END CAP TYPE - SIDE PORT, MODEL- 80-300 FOR R.O. MAKE - ECOLINE (PETAIR) | NO |  | 6 | 0
18 | MMSSKM | NS | 2026 | 9369 | FILLER GAUGE SIZE - 4 INCHLONG X THICK 15MM. | NO |  | 2 | 0
19 | MMSSKM | NS | 2026 | 10407 | GLASS FUSE 2 AMP.MAKE - L&T/SCHNEIDER | pack |  | 2 | 0
20 | MMSSKM | NS | 2026 | 9279 | HIGH REACTION R.O. MEMBRANE MEMBRANE- 80-40 (HOUSING MODEL- 80-300-5) MAKE - ECOLINE | NO |  | 20 | 0
21 | MMSSKM | NS | 2026 | 9817 | HOSS CONNECTOR SIZE - ID-90 , OD - 115 , L - 470 MM AS PER SAMPLE | NO |  | 10 | 0
22 | MMSSKM | NS | 2026 | 9543 | HYDROLICK PUMP FOR CANE UNLOADER GRAB, AS PER SAMPLE | NO |  | 2 | 0
23 | MMSSKM | NS | 2026 | 9135 | IN LINE CRIPMPING CONNECTOR ALLUMINIUM 185 MM2 MAKE - DOWELLS/JACKSON | NO |  | 20 | 0
24 | MMSSKM | NS | 2026 | 9125 | IN LINE CRIPMPING CONNECTOR COPPER 120 MM2 MAKE - DOWELLS/JACKSON | NO |  | 20 | 0
25 | MMSSKM | NS | 2026 | 9121 | IN LINE CRIPMPING CONNECTOR COPPER 50 MM2 MAKE - DOWELLS/JACKSON | NO |  | 20 | 0
26 | MMSSKM | NS | 2026 | 9123 | IN LINE CRIPMPING CONNECTOR COPPER 70 MM2 MAKE - DOWELLS/JACKSON | NO |  | 9 | 0
27 | MMSSKM | NS | 2026 | 250265 | inline/Alluminium Lugs 120 sqr mm MAKE - DOWELLS/JACKSON | NO |  | 56 | 0
28 | MMSSKM | NS | 2026 | 9191 | INSIDE CIRCLIP 32X1.4MM MAKE - STANDARD QUALITY | NO |  | 12 | 0
29 | MMSSKM | NS | 2026 | 10412 | LUG FOR FLEXIBLE WIRE FERRULES TERMINAL KIT SIZE 1 MM MAKE- STANDARD COMPANY | pack |  | 2 | 0
30 | MMSSKM | NS | 2026 | 10413 | LUG FOR FLEXIBLE WIRE FERRULES TERMINAL KIT SIZE 1.5 MM MAKE- STANDARD COMPANY | pack |  | 2 | 0
31 | MMSSKM | NS | 2026 | 5141 | M.S. Bolt with Nut - 3/4 INCH x 2.5 INCH (H.T) MAKE - STANDARD QUALITY | KG |  | 100 | 0
32 | MMSSKM | NS | 2026 | 3538 | M.S. BOLT WITH NUT (F.T.) 6X50 MM MAKE - STANDARD QUALITY | KG |  | 25 | 0
33 | MMSSKM | NS | 2026 | 2285 | M.S. BOLT WITH NUT 16X130 MM MAKE - STANDARD QUALITY | KG |  | 25 | 0
34 | MMSSKM | NS | 2026 | 6482 | M.S. BOLT WITH NUT 16X65 MM (H.T.) MAKE - STANDARD QUALITY | KG |  | 75 | 0
35 | MMSSKM | NS | 2026 | 9276 | M.S. STUD BOLT (TWO SIDE THREAD) - 8 X 100 MM MAKE- STANDARD QUALITY | NO |  | 24 | 0
36 | MMSSKM | NS | 2026 | 9278 | M.S. STUD BOLT (TWO SIDE THREAD) - 10 X 100 MM MAKE- STANDARD QUALITY | NO |  | 24 | 0
37 | MMSSKM | NS | 2026 | 9305 | M.S. STUD BOLT (TWO SIDE THREAD) - 10 X 75 MM MAKE - STANDARD QUALITY | NO |  | 24 | 0
38 | MMSSKM | NS | 2026 | 9304 | M.S. STUD BOLT (TWO SIDE THREAD) - 18 X 100 MM MAKE - STANDARD QUALITY | NO |  | 24 | 0
39 | MMSSKM | NS | 2026 | 6741 | M.S. STUD BOLT (TWO SIDE THREAD) 18X75 MM MAKE - STANDARD QUALITY | NO |  | 24 | 0
40 | MMSSKM | NS | 2026 | 6483 | M.S.Bolt With Nut 12X65MM (F.T.) MAKE - STANDARD QUALITY | KG |  | 40 | 0
41 | MMSSKM | NS | 2026 | 6484 | M.S.BOLT WITH NUT F.T. 8X65MM MAKE - STANDARD QUALITY | KG |  | 15 | 0
42 | MMSSKM | NS | 2026 | 7086 | MILL HYDROLIC LINE ELBOW/FERULE 12MM | NO |  | 10 | 0
43 | MMSSKM | NS | 2026 | 1910 | MILL HYDROLIC LINE ELBOW/FERULE 30 MM | NO |  | 1 | 0
44 | MMSSKM | NS | 2026 | 7085 | MILL HYDROLIC LINE ELBOW/FERULE, 16MM | NO |  | 8 | 0
45 | MMSSKM | NS | 2026 | 360090 | MONARCH BRASS SPRAY NOZZLE WITH M.S. SOCKET AS PER SAMPLE | NO |  | 120 | 0
46 | MMSSKM | NS | 2026 | 7120 | NYLON BRUSH 10MMXLEN158MM S STAN STANDARD | NO |  | 10 | 0
47 | MMSSKM | NS | 2026 | 7121 | NYLON BRUSH 12MMXLEN158MM STANDARD | NO |  | 7 | 0
48 | MMSSKM | NS | 2026 | 7122 | NYLON BRUSH 14MMXLEN158MM STANDARD | NO |  | 9 | 0
49 | MMSSKM | NS | 2026 | 7123 | NYLON BRUSH 16MMXLEN158MM STANDARD | NO |  | 12 | 0
50 | MMSSKM | NS | 2026 | 7119 | NYLON BRUSH 8MMXLEN158MM STANDARD | NO |  | 14 | 0
51 | MMSSKM | NS | 2026 | 9657 | OIL SEAL - 150 X 350 X 50 MAKE - MICODA/RAJHANS | NO |  | 2 | 0
52 | MMSSKM | NS | 2026 | 9716 | OIL SEAL - 47 X 72 X 10 MAKE - MICODA/RAJHANS | NO |  | 10 | 0
53 | MMSSKM | NS | 2026 | 8804 | OIL SEAL - 69 X 78 X 7 MAKE - MICODA/RAJHANS | NO |  | 11 | 0
54 | MMSSKM | NS | 2026 | 10396 | OIL SEAL 100X130X19 MAKE - MICODA/RAJHANS | NO |  | 6 | 0
55 | MMSSKM | NS | 2026 | 9038 | OIL SEAL 26X50X10 9 MAKE - MICODA/RAJHANS | NO |  | 12 | 0
56 | MMSSKM | NS | 2026 | 9155 | OMRON RELAY 8 CHANNEL 24V DC MAKE - OMRON | NO |  | 2 | 0
57 | MMSSKM | NS | 2026 | 7660 | O-RING FOR PNEUMATIC (DUBLE ACTING VALVE) MODEL 115DA O-RING FOR BUTTERFLY PNUMATIC VALVE (AS PER AS SAMPLE ) MAKE-STTAFORD, MODEL 115DA. MAKE - AIRA/ROTEX | NO |  | 2 | 0
58 | MMSSKM | NS | 2026 | 10186 | O-RING FOR PNEUMATIC (DUBLE ACTING VALVE) MODEL 125DA O-RING FOR BUTTERFLY PNUMATIC VALVE (AS PER AS SAMPLE) MAKE STAFFORD , MODEL125 DA. MAKE - AIRA/ROTEX | NO |  | 2 | 0
59 | MMSSKM | NS | 2026 | 6808 | PLA Relay 230V AC MAKE - PARAMOUNT | NO |  | 2 | 0
60 | MMSSKM | NS | 2026 | 9156 | PLA RELAY PARAMOUNT 230V AC MAKE - PARAMOUNT | NO |  | 10 | 0
61 | MMSSKM | NS | 2026 | 9160 | PRESSURE GAUGE 16 KG DAIL SIZE 6” WITH ADJUSTEBAL SS BODY MAKE - H-GURU/HI-TEC | NO |  | 2 | 0
62 | MMSSKM | NS | 2026 | 9162 | PRESSURE SWITCH RANGE- 0-10 BAR MAKE - DANFOSS/NORWAY | NO |  | 2 | 0
63 | MMSSKM | NS | 2026 | 5688 | PRINTER MACHINE RICOH IM2702 MFD. SERIAL NO.- 3299M420636 MAKE - RICOH | NO |  | 2 | 0
64 | MMSSKM | NS | 2026 | 6345 | PRINTER MACHINEHP LASERJET PRINTER M126NW MPF MAKE - HP | NO |  | 2 | 0
65 | MMSSKM | NS | 2026 | 9552 | PUC (08MM) PIPE. STANDARD QUALITY (ISI-MARK) , MAKE- JANATICS. MAKE - JANATICS/ROTEX/TECHNO | MTR |  | 100 | 0
66 | MMSSKM | NS | 2026 | 9541 | PVC BODY FOOTWALL/NRV - 80 MM MAKE - HEAVY DUTY | NO |  | 9 | 0
67 | MMSSKM | NS | 2026 | 9177 | PVC MARKING SLEEVE DIAMETER: 3.5MM MAKE - STANDER COMPNY | MTR |  | 6 | 0
68 | MMSSKM | NS | 2026 | 6904 | PVC TANK JOINTER SIZE-1 INCHMAKE-ACROSS/SUPREME/ASHIRWAD/IDOL | NO |  | 7 | 0
69 | MMSSKM | NS | 2026 | 6908 | PVC TANK JOINTER SIZE-3/4MAKE-ACROSS/SUPREME/ASHIRWAD/IDOL | NO |  | 7 | 0
70 | MMSSKM | NS | 2026 | 9170 | ROSEMOUNT DP TRANSMITTER S.N. 00416363,MAXWP 3626PSI/250 BAR,CALL 0TO 1200MMH2O MAKE - ROSEMOUNT/NORWAY | NO |  | 1 | 0
71 | MMSSKM | NS | 2026 | 7638 | RUBBER BUCKET FOR PAN DISCHARGE 101X279X11 ID- 101MM, OD- 279.5MM, THICKNESS- 11MM MAKE - PURI INDUSTRIAL | NO |  | 3 | 0
72 | MMSSKM | NS | 2026 | 7637 | RUBBER BUCKET FOR PAN DISCHARGE 101X303X280 ID- 101MM, OD- 303MM, CENTER- 280MM, MAKE - PURI INDUSTRIAL | NO |  | 3 | 0
73 | MMSSKM | NS | 2026 | 3552 | RUBBER TYRE COUPLING SET PH-116 MAKE- BK JAGAN/UTKARSH/UNIQUE | NO |  | 5 | 0
74 | MMSSKM | NS | 2026 | 9824 | SAFETY / RELIEF VALVE MODEL NO. - B165/CC41AA , SIZE -200X300 , SR.NO. -76130 MAKE - AINGER LESER VALVES PVT.LTD. | NO |  | 1 | 0
75 | MMSSKM | NS | 2026 | 7422 | SEAL KIT FOR AIR PNUMATIC CUT VALVE TYPE-PVC SIZE 300 MM MAKE- PURI INDUSTRIAL | SET |  | 4 | 0
76 | MMSSKM | NS | 2026 | 2526 | SEMI CONDUCTOR SQURE BODY DIN - 43653 BOLTED TAGS HIGH SPEED FUSE 630A/620 (IE) 700 (UL) CAT NO - 170M6144. / 170M 6011 MAKE - BUSSMAN | NO |  | 5 | 0
77 | MMSSKM | NS | 2026 | 6895 | Single Phase Amp Meter Digital (4 Digit) ITEM CODE - 129180611 MAKE - A.E. | NO |  | 12 | 0
78 | MMSSKM | NS | 2026 | 9380 | SINGLE SPROCKET CHAIN PITCH- 25 MM, LENGTH - 85 INCH (AS PER SAMPLE) MAKE - STANDARD | NO |  | 1 | 0
79 | MMSSKM | NS | 2026 | 9381 | SINGLE SPROCKET CHAIN PITCH- 25 MM, LENGTH - 98 INCH (AS PER SAMPLE) MAKE - STANDARD | NO |  | 1 | 0
80 | MMSSKM | NS | 2026 | 9558 | SOLENOID VALVE RIPERING KIT MAKE - ROTEX/ KARMA/NORWAY | NO |  | 4 | 0
81 | MMSSKM | NS | 2026 | 9413 | SOLENOID VALVE WITH , MODEL : - 4V310.08B,PRESSURE - 0.75-0.8 MPA,SUPPLY 230 AC MAKE - TEC | NO |  | 1 | 0
82 | MMSSKM | NS | 2026 | 6803 | SPLIT PIN FOR CONVEYOR CHAIN 1048 MAKE - STITCHWELL STITCHING M/C 1309 MOD 80000 DX SPARE - STITCWELL | NO |  | 150 | 0
83 | MMSSKM | NS | 2026 | 290077 | spring washer 1/2 INCH STANDARD QUALITY | NO |  | 70 | 0
84 | MMSSKM | NS | 2026 | 5159 | SPRING WASHER 1/4 INCH STANDARD QUALITY | NO |  | 50 | 0
85 | MMSSKM | NS | 2026 | 8678 | STACKER IRON SLAT WITH ROLLER SIZE - 712 MM X 50 X25 ( AS PER SAMPLE) STANDARD | NO |  | 12 | 0
86 | MMSSKM | NS | 2026 | 9530 | STAR DELTA TIMER EIRES-225, SUPPLY VOLTAGE 240VAC, CONTACTS-5A.RANGE-30/60/90/120 SEC, CAT NO.- 20STDO MICON ELECTRONIC TIMER MAKE - GIC/GENERAL | NO |  | 1 | 0
87 | MMSSKM | NS | 2026 | 9320 | STEEL EXTERNAL CIRCLIP SIZE - 72 X 80 X 2.5MM | NO |  | 20 | 0
88 | MMSSKM | NS | 2026 | 3033 | STITCHING Machine Oil | litre |  | 20 | 0
89 | MMSSKM | NS | 2026 | 9393 | SUMBERSIBLE PUMP WITH MOTOR, STARTER, 440V, 3 PHASE, 10 HP, 2900 RPM MAKE - KIRLOSKAR/CROMPTON/TEXMO EQUA | NO |  | 1 | 0
90 | MMSSKM | NS | 2026 | 9394 | SUMBERSIBLE PUMP WITH MOTOR, STARTER, 440V, 3 PHASE, 7.5 HP, 2900 RPM MAKE - KIRLOSKAR/CROMPTON/TEXMO EQUA | NO |  | 3 | 0
91 | MMSSKM | NS | 2026 | 2123 | T.B. WITH ITS CLIP FOR CENTRIFUGAL MAKE-FTC,SIZE 6MM 2-750 VAC | NO |  | 15 | 0
92 | MMSSKM | NS | 2026 | 9806 | TAFLOAN GLAND PACKING, SIZE- 5 MM | NO |  | 2 | 0
93 | MMSSKM | NS | 2026 | 6906 | TANK OVERFLOW VALVE SIZE-1/2 INCHMAKE-ACROSS/SUPREME/ASHIRWAD/IDOL | NO |  | 11 | 0
94 | MMSSKM | NS | 2026 | 2827 | Top Botton Rubber v seal size-uc-1100 | SET |  | 18 | 0
95 | MMSSKM | NS | 2026 | 9065 | TURMINAL OPOXY BOX FOR FABRIZER MOTOR 500KW, MAKE-CRMPTION GREAVES | SET |  | 1 | 0
96 | MMSSKM | NS | 2026 | 9325 | U, BOLTS & NUT ,SIZE- 20MM | NO |  | 5 | 0
97 | MMSSKM | NS | 2026 | 6901 | UPVC PLAIN COOK SIZE1 INCH, MAKE - ACROSS/SUPREME/ASHIRWAD/IDOL | NO |  | 20 | 0
98 | MMSSKM | NS | 2026 | 9503 | UPVC SOCKET SIZE- 90 MM MAKE - ACROSS/SUPREME/ASHIRWAD/IDOL | NO |  | 10 | 0
99 | MMSSKM | NS | 2026 | 9542 | UPVC SOLVENT MAKE - ACROSS/SUPREME/ASHIRWAD/IDOL | litre |  | 1 | 0
100 | MMSSKM | NS | 2026 | 10830 | UPVC TEE 1 INCH MAKE - ACROSS/SUPREME/ASHIRWAD/IDOL | NO |  | 1 | 0
101 | MMSSKM | NS | 2026 | 2464 | U-TYRE COUPLING FOR UC-1500 CONTINIOUS MACHINE AS PER SAMPLE | NO |  | 6 | 0
102 | MMSSKM | NS | 2026 | 9505 | VCB RELAY,TYPE- REM601BE446BB1NH 24-240 VAC/DC | NO |  | 2 | 0
103 | MMSSKM | NS | 2026 | 9378 | VOLTAGE TRANSFORMER RATIO - (11v3)/(110Vv3),BURDEN - 30 VA,CLASS - 0.2,INSULATION LABLE - 12/28/750KV,S.N - Z33969,MAKE - INSTRANS. | NO |  | 3 | 0
104 | MMSSKM | NS | 2026 | 7696 | WIRE FERRULES TERMINALS KIT SIZE 0.5, 1, 1.5 SQ MM (Crimping tool) MAKE - JANATICS/KARMA /NORWAY | SET |  | 1 | 0
105 | MMSSKM | NS | 2026 | 1523 | WOODEN BOARD WITH SUNMICA 6X8 INCH MAKE - STANDARD QUALITY | NO |  | 3 | 0
106 | MMSSKM | NS | 2026 | 1526 | WOODEN BOARD WITH SUNMICA 8X10 INCH MAKE - STANDARD QUALITY | NO |  | 2 | 0
107 | MMSSKM | NS | 2026 | 8228 | WOODEN STRIP L-630, W-48, THICK-37 MM AS PER SAMPLE MAKE - BAKALI/DEVDAR/SAGAUN | NO |  | 25 | 0
108 | MMSSKM | NS | 2026 | 9223 | YOKOGAWA UM33A DIGITAL INDICATOR MAKE - YOKOGAWA | NO |  | 1 | 0
109 | MMSSKM | NS | 2026 | 9226 | YOKOGAWA UT35A DIGITAL INDICATOR MAKE - YOKOGAWA | NO |  | 1 | 0
110 | MMSSKM | NS | 2026 | 11086 | RAKE OUT GEAR FOR INDOOR VACUME CIRCUIT BREAKER, VOLTAGE- 12KB APM-800 | NO |  | 2 | 0
111 | MMSSKM | NS | 2026 | 11056 | DC POWER PACK , 230VAC/220VDC FOR FEBRIZER MAKE - ADITYA | NO |  | 2 | 0
112 | MMSSKM | NS | 2026 | 11029 | AUTOMATIC ROTOR CONTROLLER , MODEL NO- RC1-132 SPRAY PUMP | NO |  | 1 | 0
113 | MMSSKM | NS | 2026 | 2365 | CPU CONTROLLER WITH DISPLAY D19203R3 MAKE - POWER CON | NO |  | 1 | 0
114 | MMSSKM | NS | 2026 | 8227 | WOODEN STRIP, SIZE - 900 MM LENGTH X WIDTH - 80 MM X THICKNESS - 10 MM MAKE - BAKALI /DEVDAR / SAGAUN | NO |  | 68 | 0
115 | MMSSKM | NS | 2026 | 7204 | BRIDGE GEAR BOX, TYPE-H. B 350, RATIO- 48.57/1. DRIVING SHAFT (SS) FIRST MOTION MAKE - NILESH ENGINEERING | NO |  | 1 | 0
116 | MMSSKM | NS | 2026 | 9066 | UNIVERSAL JOINT COUPLING WITH SPLIN SHAFT (AS PER SAMPLE) MAKE - J&A/MS ENGG/KSBSAI | NO |  | 1 | 0
117 | MMSSKM | NS | 2026 | 9112 | VERNIER CALIPER SIZE-6 INCH ZERO ERROR MAKE - MITUTOYA | NO |  | 1 | 0
118 | MMSSKM | NS | 2026 | 290090 | MS BOLT WITH NUT SIZE- 12X50 MAKE - STANDARD QUALITY | KG |  | 190 | 0
119 | MMSSKM | NS | 2026 | 11129 | EN8 ROD SIZE-150 MM WITH MANUFACTURING CERTIFICATE MAKE-STANDRED | MTR |  | 3 | 0
120 | MMSSKM | NS | 2026 | 5666 | MS BOLT WITH NUT 20X180 MM HT MAKE STANDARD QUALITY | KG |  | 20 | 0
121 | MMSSKM | NS | 2026 | 7927 | WORK FOR JUICE SULPHITOR TANK DIS FEB ERE AND FITTING | NO |  | 1 | 0
122 | MMSSKM | NS | 2026 | 3677 | kit complet over haul 2340, 70241922 | SET |  | 2 | 0
123 | MMSSKM | NS | 2026 | 3714 | OIL FILTER 30472161 MAKE - IR | NO |  | 4 | 0
124 | MMSSKM | NS | 2026 | 4968 | KIT OVERHAUL 2545 COMPRESSOR 70240940AS01 MAKE - IR | SET |  | 2 | 0
125 | MMSSKM | NS | 2026 | 3699 | RING PISTON 7 ESV 95215752 MAKE - IR | NO |  | 6 | 0
126 | MMSSKM | NS | 2026 | 3700 | RING WEARING 7 , 7032506322 HIN597 5MAKE - IR | NO |  | 9 | 0
127 | MMSSKM | NS | 2026 | 3705 | GUIDE VALVE 37041324 MAKE - IR | NO |  | 20 | 0
128 | MMSSKM | NS | 2026 | 3704 | HOLDER GUIDE 37025491 MAKE - IR | NO |  | 20 | 0
129 | MMSSKM | NS | 2026 | 3715 | GASKET SET 7X5 70388640 MAKE - IR | SET |  | 4 | 0
130 | MMSSKM | NS | 2026 | 3709 | O RING 95018164 20A11BM218 MAKE - IR | NO |  | 10 | 0
131 | MMSSKM | NS | 2026 | 1925 | CARBIDE TIP TOOL V SHAPE TOOL LEFT HAND SIZE - 3/4 | NO |  | 20 | 0
132 | MMSSKM | NS | 2026 | 11137 | MOTOR FOR CANE LEVELLER COPPER FLEXIBLE LINK KW 185 AS PER SAMPLE MAKE- MARATHON | NO |  | 30 | 0
133 | MMSSKM | NS | 2026 | 5782 | ALLEN KEY SET MM , INCH MAKE - TAPARIA | SET |  | 1 | 0
134 | MMSSKM | NS | 2026 | 5719 | MESCHERD KNIFE FOR MILL ROLLER AND SIZE -6MM THIK X45 MM WIDTH X 510 MM LONG MATRIAL GR-EN-39, AS PER SAMPLE MAKE- STANDARD QUALITY | NO |  | 23 | 0
135 | MMSSKM | NS | 2026 | 11157 | FIBER TOP COVER OF GRADER AS PER SAMPLE | SET |  | 1 | 0

## REFERENCE
Department Name | Code | SOR Name | SOR | UOM Name | UOM Code | false198914
36 Incubation Center (AIC 36Inc) Chhattisgarh(36INC) | 36INC | PHE | PHE | Percentage | %
ASSISSTANT COMMISSIONAR TRIBAL DEVELOPMENT NARAYANPUR C.G(ACTDN) | ACTDN | PHED | PHED1 | % of Cost of Bridge (excluding Maintenance) sanctioned by competent authority | % of Cost of Bridge (excluding Maintenance) sanctioned by competent authority
Assistant commissionar tribal development sakti (C.G)(ACTDSKT) | ACTDSKT | RES_BUILDING | RESBDG | Per mile | %O
Assistant commissioner tribal department Dantewada(ACTDD) | ACTDD | NON DSR BUILDING 2018 | NON DSR BUILDING | 1 Job | 1 Job
Atal Bihari Vajpayee Vishvavidyalaya,Bilaspur Chhattisgarh(ABVVBC) | ABVVBC | BRIDGE | PWD_BRIDGE | 1000 no. | 1000 no.
Balod District Urban Public Service Society(BALDUPSS) | BALDUPSS | DSR BUILDING 2016 | DSR BUILDING | 1000 piece | 1000 piece
Baloda Bazar District Urban Public Service Society(BBDUPSS) | BBDUPSS | NON SOR | NS | 1000No. | 1000No.
Balrampur District Urban Public Service Societ(BPDUPSS) | BPDUPSS | CPWD DSR 2016 | CPWD DSR 2016 | Print | 123
Bastar District Urban Public Service Society(BASTARJUPS) | BASTARJUPS | PWD ROAD | PWD ROAD | Per Diem Rate | 1234
Bastar Urban Public Service Society (BSTUPSS) | BSTUPSS | WRD | WRD | MAN DAYS | 12345
Bemetara District Urban Public Service Society(BEMDUPSS) | BEMDUPSS | ELECTRIC | ELECT | 1 Box | 1B
Bhoramdev Sahakari Sugar Production Factory-Kabirdham(BSSPFK) | BSSPFK | PMGSY SOR | PMGSY | 1 Piece | 1P
Bijapur District Urban Public Service Society(BIJAPURUPS) | BIJAPURUPS | Creda SOR | CREDA_SOR | 1 Strip | 1S
Bilaspur District Urban Public Service Society(BJUPSS) | BJUPSS | PWD BUILDLING | PWD BLD | 1 Tube | 1T
Bilaspur Smart City Limited(BSCL) | BSCL | DSR ELECTRICAL 2016 | DSR ELECTRICAL | PRINT | 678
Bilaspur Urban Public Service Society (BSPUPSS) | BSPUPSS |  |  | Siemens Per meter | A/V
CG Building and other Construction workers welfare Board (CGBOCW) | CGBOCW |  |  | Acre | ACR
Chhattisgarh Academy of Administration Nimora Raipur(CAOANR) | CAOANR |  |  | AMC | AMC
Chhattisgarh Board of Secondary Education(CBOSE) | CBOSE |  |  | AMPOULE | AMP
Chhattisgarh Council of Science &amp; Technology(CCST) | CCST |  |  | Price Should be quoted as per SKU in Aneexure-I of Tender Document | APT
Chhattisgarh Department of Agriculture (CGDA) | CGDA |  |  | As per Tender | APT1
CHHATTISGARH ENVIRONMENT CONSERVATION BOARD(CECB) | CECB |  |  | Single Rate (1 Tablet/1 capsule/1 Amp/1 Vial /1 Bottle/1 Kit/1 Test Kit) | APT2
Chhattisgarh Government Labour Department(CGLD) | CGLD |  |  | Activity unit | AU
Chhattisgarh Handicraft Board (CGHCB) | CGHCB |  |  | Bag | BAG
Chhattisgarh High Court, Bilaspur (CGHC) | CGHC |  |  | barrel | barrel
Chhattisgarh Housing Board (CGHB) | CGHB |  |  | Batch | Batch
Chhattisgarh Infotech Promotion Society (CHiPS) | CHiPS |  |  | BHQ | BHQ
Chhattisgarh Kamdhenu Vishwavidyalaya(CGKV) | CGKV |  |  | Book | BK
Chhattisgarh Khadi &amp; Village Industries Board(CGKVIB) | CGKVIB |  |  | BOTTLE | BOT
Chhattisgarh livestock development Agency(CLDA) | CLDA |  |  | Box | BOX
Chhattisgarh Medical Services Corporation Ltd. (CGMSC) | CGMSC |  |  | Gallons per hour (US) | BPH
Chhattisgarh Mineral Development Corporation Ltd(CMDC) | CMDC |  |  | Brass | Brass
Chhattisgarh Police Housing Corporation Ltd (CGPHC) | CGPHC |  |  | Billing Rate Per Month | BRM
Chhattisgarh Railway Corporation Ltd(CRCL) | CRCL |  |  | Bottle | BT
Chhattisgarh Rajya Beej Evam Krishi Vikas Nigam (CGRBEKVN) | CGRBEKVN |  |  | BUNCH | BUNCH
Chhattisgarh Rajya Sahakari Bank Mydt(CRSBM) | CRSBM |  |  | Bundle | Bundle
Chhattisgarh Regional Science Centre Society(CRSCS) | CRSCS |  |  | Cubic sentimeter /second | C3S
Chhattisgarh Road Development Corporation Limited(CGRDC) | CGRDC |  |  | Canister | CAN
Chhattisgarh State BharatNet Infrastructure Limited(CSBIL) | CSBIL |  |  | Carton | CAR
Chhattisgarh State Civil Supplies Corp. Limited (SCSC) | SCSC |  |  | Cubic Centimeter | CCM
Chhattisgarh State Co-Operative Marketing Federation Limited(CGMARKFED) | CGMARKFED |  |  | Cubic decimeter | CD3
Chhattisgarh State Cooperative Dairy Federation Ltd.(CGCDF) | CGCDF |  |  | Centiliter | CL
Chhattisgarh State Election Commission(CSEC) | CSEC |  |  | cm | cm
Chhattisgarh State Industrial Development Corporation (CSIDC) | CSIDC |  |  | Centimeter | CM
Chhattisgarh State Information Infrastructure Corporation Limited(CSIICL) | CSIICL |  |  | Square centimeter | CM2
Chhattisgarh State Mandi Board (CGSMB) | CGSMB |  |  | coils | coils
Chhattisgarh State Minor Forest Produce-Trading & Development Co-Operative Federation Ltd (CGMFPFED) | CGMFPFED |  |  | COILS | Coils
Chhattisgarh State Power Distribution Company Limited (CGSPDCL) | CGSPDCL |  |  | CONE | CONE
Chhattisgarh State Power Generation Company Limited (CGSPGCL) | CGSPGCL |  |  | Copies | Copies
Chhattisgarh State Power Transmission Company Limited (CGSPTCL) | CGSPTCL |  |  | Crate | CRT
Chhattisgarh State Renewable Energy Development Agency(CREDA) | CREDA |  |  | Case | CS
Chhattisgarh State Skill Development Authority(CSSDA) | CSSDA |  |  | Cu. Inch | Cu. Inch
Chhattisgarh State Warehousing Corporation (CGSWC) | CGSWC |  |  | Cu.Mtr. | Cu.Mtr.
Chhattisgarh Text Book Corporation (CGTBC) | CGTBC |  |  | cubic feet | cubic feet
CHHATTISGARH TOURISM BOARD(CGT) | CGT |  |  | cubic feet (CFT) | cubic feet (CFT)
Chhattisgarh Transport Department(CTD) | CTD |  |  | cum | cum
CHIEF MEDICAL AND HEALTH OFFICER RAIGARH(CMAHOR) | CMAHOR |  |  | cum.km | cum.km
Collectorate Balod(CB) | CB |  |  | Days | DAY
Danteshwari Maiya Shahkari Shakkar Karkhana Maryadit Balod(DMSSK) | DMSSK |  |  | Degree | DEG
Dantewada District Urban Public Service Society(DANTEWADAU) | DANTEWADAU |  |  | DFLT | DFLT
Department of Good Governance and Convergence(DGGC) | DGGC |  |  | DHQ | DHQ
Department of Home Guard and Civil Defence Chhattisgarh (HGCD) | HGCD |  |  | DHQ-BHQ | DHQ-BHQ
Department of Panchayat and Social Welfare (DPSW) | DPSW |  |  | Decimeter | DM
Department of School Education (DSE) | DSE |  |  | Drum | DR
Department of Technical Education (DTE) | DTE |  |  | DRUM | DRUM
Department of Tribal and Scheduled Caste Manendragarh-Chirmiri-Bharatpur(DTSCMCB) | DTSCMCB |  |  | Dozen | DZ
Department of Women and Child Development(WCD) | WCD |  |  | EACH | EA
Dhamtari Jila Urban Public Service Society(DJUPSS) | DJUPSS |  |  | each | each
Directorate Financial Management and Information System(DFMAIS) | DFMAIS |  |  | EACH | EACH
Directorate Horticulture and Farm Forestry, Chhattisgarh(DHF) | DHF |  |  | each additional floor | each additional floor
Directorate of Printing and Stationery(DOPAS) | DOPAS |  |  | Each Courty | Each Court
Directorate of Archaeology, Archives and Museum(DAAM) | DAAM |  |  | each cut | each cut
Directorate of Aviation(DoA) | DoA |  |  | EACH FRAME | EACH FRAME
Directorate of CG Food And Civil Supplies and Consumer Protection(DSCSC) | DSCSC |  |  | Each rol | Each rol
Directorate of Culture and Archaeology Chhattisgarh(DOCAAC) | DOCAAC |  |  | each test | each test
Directorate of Culture and Language(DCL) | DCL |  |  | each tree guard | each tree guard
Directorate of Employment and Training(DOEAT) | DOEAT |  |  | each tree guard | each tree guard
Directorate of Fisheries (DF) | DF |  |  | Each box | EB
Directorate of Higher Education Chhattisgarh(DOHEC) | DOHEC |  |  | Enzyme Units / Milliliter | EML
Directorate of Industries(DOI) | DOI |  |  | Each TAPE | ET
Directorate of Institutional Finance(DIF) | DIF |  |  | Enzyme Units | EU
Directorate of Local Fund Audit(DOLFA) | DOLFA |  |  | For each (Unit) Quantity | For each (Unit) Quantity
Directorate of Social Welfare Chhattisgarh(DSWC) | DSWC |  |  | For each PPE KIT | For each PPE KIT
Directorate of Sports and Youth Welfare(DSYW) | DSYW |  |  | For each Test KIT | For each Test KIT
Directorate of Treasury Accounts &amp; Pension, Chhattisgarh(DTAPC) | DTAPC |  |  | For each VTM Kit | For each VTM Kit
Directorate of Tribal and Schedule Caste Development(DTSCD) | DTSCD |  |  | Fluid Ounce US | FOZ
Directorate of Tribal Research and Training Institute(DOTRATI) | DOTRATI |  |  | Feet | FT
Directorate of Veterinary Services Chhattisgarh(DVSC) | DVSC |  |  | Square foot | FT2
DISTRICT POLICE KORBA(DPK) | DPK |  |  | Cubic Foot | FT3
District Project Livelihood College Society, Dhamtari(DPLCS) | DPLCS |  |  | Gigajoule | FY
District Project Livelihood College Society (DPLCS) Raigarh(DPLCSR) | DPLCSR |  |  | Gram | G
Durg District Urban Public Service Society(DDUPSS) | DDUPSS |  |  | gram act.ingrd /liter | G/L
Durg-Bhilai Urban Public Service Society (DBUPSS) | DBUPSS |  |  | US gallon | GAL
Food and Drug Administration (FDA) | FDA |  |  | Gram Gold | GAU
Forest Department(FD) | FD |  |  | Gram act.ingrd. | GI
Gariaband District Urban Public Service Society(GDUPSS) | GDUPSS |  |  | Gram /liter | GLI
Gaurella Pendra Marwahi District Urban Public Service Society(GPMDUPSS) | GPMDUPSS |  |  | Gram/Mol | GM
Health Department (HD) | HD |  |  | Gram/Kilogram | gm/kg
IIIT Naya Raipur(IIITNR) | IIITNR |  |  | Gram /square meter | GM2
Indira Gandhi Krishi Vishwavidyalaya (IGKV) | IGKV |  |  | Gram/Cubic meter | GM3
Inspector General of Registration and Superintendent of Stamps(IGRS) | IGRS |  |  | Gigaohm | GOH
Janjgir Champa District Urban Public Service Society(JCDUPSS) | JCDUPSS |  |  | Gallons per mile (US) | GPM
Jashpur District Urban Public Service Society(JASDUPSS) | JASDUPSS |  |  | Gross | GRO
Jila Nirman Samiti Jagdalpur(JNSJ) | JNSJ |  |  | Hour | H
Jila Nirman Samiti Narayanpur(JNSN) | JNSN |  |  | Hectare | HA
Jila Sahakari Kendariya Bank Mydt. Raipur(JSKBM) | JSKBM |  |  | hectare | hectare
Jila Sahakari Kendriya Bank Mydt. Durg (CG)(JSKBMD) | JSKBMD |  |  | Hectoliter | HL
Kanker District Urban Public Service Society(KANDUPSS) | KANDUPSS |  |  | hour | hour
Kawardha District Urban Public Service Society(KAWDUPSS) | KAWDUPSS |  |  | Horse power | HP
Kondagaon District Urban Public Service Society(KONUPSS) | KONUPSS |  |  | Hours | HR
Korba District Urban Public Service Society(KJUPSS) | KJUPSS |  |  | Hours | Hrs
Korba Urban Public Service Society (KRBAUPSS) | KRBAUPSS |  |  | hundred Pieces | hundred Pieces
Korea District Urban Public Service Society(KDUPSS) | KDUPSS |  |  | HALF YEARLY | HY
Koriya Urban Public Transport Society (KRYAUPTS) | KRYAUPTS |  |  | I/O Point | I/O Point
Lauh Purush Sugar Plant, Pandariya(LSPSSKM) | LSPSSKM |  |  | INHALER | INH
Livestock Development Department(LDD) | LDD |  |  | Indian Rupees | INR
Maa danteshwari Maize processing and marketing cooperative society ltd. Kondagaon(MDMPMCSL) | MDMPMCSL |  |  | JAR | JAR
Maa Mahamaya Shahkari Shakkar Karkhana Maryadit Ambikapur(MMSSKM) | MMSSKM |  |  | Joule /kilogram | JKG
Mahasamund District Urban Public Service Society(MDUPSS) | MDUPSS |  |  | Joule /Mol | JMO
Mahatma Gandhi University of Horticulture and Forestry(MGUHF) | MGUHF |  |  | Job | Job
Mineral Resources Department -Mining (MRD) | MRD |  |  | joint | joint
Mungeli District Urban Public Service Society(MUDUPSS) | MUDUPSS |  |  | Kilogram act.ingrd | KAI
Narayanpur District Urban Public Service Society(NDUPSS) | NDUPSS |  |  | Kilogram /cubic decimeter | KD3
Nava Raipur Atal Nagar Smart City Corporation Limited(NRANSCCL) | NRANSCCL |  |  | kg | kg
Nava Raipur Atal Nagar Vikas Pradhikaran (NRANVP) | NRANVP |  |  | Kgs | Kg
OFFICE DISTRICT PROJECT LIVELIHOOD COLLEGE SOCIETY SUKMA DIST (C.G)(ODPLCSCD) | ODPLCSCD |  |  | Kilogram | KG
Office of Chief Electoral Officer, Chhattisgarh(OCEO) | OCEO |  |  | Kilogram/Mol | KGM
Office of collector Raigarh(OCR) | OCR |  |  | Kilogram /Second | KGS
Office of Commissioner Land Records Chhattisgarh(OCLR) | OCLR |  |  | Kilogram / cubic meter | KGV
Office of District Collector Tribal welfare Department Bijapur(ODCTWDB) | ODCTWDB |  |  | kg act.ingrd /kg | KIK
Office of District Collector, Sarangarh &ndash; Bilaigarh(ODCSB) | ODCSB |  |  | KILOWATT | KILOWATT
Office of Superintendent of Police, District- Mahasamund(OSPM) | OSPM |  |  | KIT | KIT
Office of Superintendent of Police, District-Balod(OSPDB) | OSPDB |  |  | Kilojoule/kilogram | KJK
Office of the Collector Sukma (C.G)(OOCS) | OOCS |  |  | Kilojoule/Mol | KJM
Office of the collector,Bastar (C.G)(OOTCB) | OOTCB |  |  | Kilo Litre | KL
office of the collectrorate Gariyaband(OCGBND) | OCGBND |  |  | Km | Km
Panchayat and Rural Development (PARD) | PARD |  |  | Kilometer | KM
Police Headquarter Chhattisgarh(PHQ) | PHQ |  |  | km. | km.
Public Health Engineering Department (PHED) | PHED |  |  | Square kilometer | KM2
Public Works Department (PWD) | PWD |  |  | Kilometer/hour | KMH
Raigarh District Urban Public Transport Society(RDUPTS) | RDUPTS |  |  | Kelvin/Minute | KMN
Raigarh Urban Public Service Society (RIGUPSS) | RIGUPSS |  |  | Kelvin /Second | KMS
Raipur Collectorate (RC) | RC |  |  | Kilonewton per square meter | KNM
Raipur Development Authority (RDA) | RDA |  |  | Kilopascal | KPA
Raipur District Urban Public Service Society(RAIPURDUPS) | RAIPURDUPS |  |  | Kilotonne | KT
Raipur Smart City Limited(RSCL) | RSCL |  |  | Kilovoltampere | KVA
Raipur Urban Public Transport Society (RUPTS) | RUPTS |  |  | KWH | KWH
Rajnandgaon District Urban Public Service Society(RDUPSS) | RDUPSS |  |  | KILOWATT POWER | KWP
Rajnandgaon Urban Public Service Society (RNDGUPSS) | RNDGUPSS |  |  | kwp-dc | kwp-dc
Rural Engineering Services (RES) | RES |  |  | US Pound | LB
Samagra Shiksha Chhattisgarh (SSC) | SSC |  |  | lemgth | lemgth
Sarguja District Urban Public Service Society(SRDGUPSS) | SRDGUPSS |  |  | length | length
Sarguja Urban Public Service Society (SUPSS) | SUPSS |  |  | Liter per 100 km | LHK
Sirpur Special Area Development Authority(SADA) | SADA |  |  | litre | litre
State Tax Chhattisgarh(STCG) | STCG |  |  | Liter /Minute | LMI
State Urban Development Agency (SUDA) | SUDA |  |  | Liter /Molsecond | LMS
Sukma District Urban Public Service Society(SUKDUPSS) | SUKDUPSS |  |  | LOT | LOT
Surajpur District Urban Public Service Society(SRJDUPSS) | SRJDUPSS |  |  | Liter Per hour | LPH
Swachh Bharat Mission (Gramin) Panchayat and Rural Development Department(SBMPARDD) | SBMPARDD |  |  | Lumpsum | LS
Tribal and Scheduled Caste Development Department(Mohla Manpur Ambagarh Chauki)(TASCDDMMAC) | TASCDDMMAC |  |  | LITRE | LT
Tribal Welfare Department, District Sukma(TWDDS) | TWDDS |  |  | lumpsump | lumpsump
Tribal Welfare Development Department ( Balrampur-Ramanujganj)(TWDDBR) | TWDDBR |  |  | Meter | M
Tribal Welfare Development Department (Balod- Collectorate)(TWDDBALOD) | TWDDBALOD |  |  | 1/square meter | M-2
Tribal Welfare Development Department (Bilaspur)(TWDDBILASP) | TWDDBILASP |  |  | Mol per cubic meter | M:M
Tribal Welfare Development Department (Dhamtari)(TWDDDT) | TWDDDT |  |  | Megawatt hours | M..
Tribal Welfare Development Department (Gariyaband)(TWDD) | TWDD |  |  | M.T. | M.T.
Tribal Welfare Development Department (Gaurella-Pendra-Marwahi-Collectorate)(TWDDGPM) | TWDDGPM |  |  | Meter /Hour | M/H
Tribal Welfare Development Department (Jagdalpur- Collectorate)(TWDDJDP) | TWDDJDP |  |  | Mol per liter | M/L
Tribal Welfare Development Department (Kabeerdham Collectorate)(TWDDKC) | TWDDKC |  |  | Meter /second | M/S
Tribal Welfare Development Department (Kanker)(TWDDKANKER) | TWDDKANKER |  |  | Square meter | M2
Tribal Welfare Development Department (Koriya)(TWDDKORIYA) | TWDDKORIYA |  |  | Square meter/Coat | M2C
Tribal welfare development Department (Mahasamund)(TWDDMSD) | TWDDMSD |  |  | Square meter/second | M2S
Tribal Welfare Development Department (Mungeli-Collectorate)(TWDDMC) | TWDDMC |  |  | Cubic meter | M3
Tribal Welfare Development Department (Rajnandgaon Collectorate)(TWDDRJN) | TWDDRJN |  |  | Cubic meter /Hour | M3H
Tribal Welfare Development Department (Surajpur Collectorate)(TWDDSC) | TWDDSC |  |  | Cubic meter/second | M3S
Tribal Welfare Development Department Balodabaza Bhatapara(TWDDBB) | TWDDBB |  |  | Man days | Man days
Tribal Welfare Development Department Durg(TWDDD) | TWDDD |  |  | Man-Month | Man-Month
Tribal Welfare Development Department Khairagarh -Chhuikhadan -Gandai (Collectorate)(TWDDKCG) | TWDDKCG |  |  | ManDay | ManDay
Tribal Welfare Development Department Kondagaon(TWDDK) | TWDDK |  |  | Manmonth | Manmonth
Tribal Welfare Development Department Raigarh(TWDDRG) | TWDDRG |  |  | Mbps | Mb
Tribal Welfare Development Department, Jashpur(TWDDJSP) | TWDDJSP |  |  | Megajoule | MEJ
Tribal Welfare Development Department(Ambikapur-Collectorate)(TWDDABK) | TWDDABK |  |  | meter | meter
Tribal Welfare Development Department(Bemetara Collectorate)(TWDDBC) | TWDDBC |  |  | metre | metre
Tribal Welfare Development Department(Korba-Collectorate)(TWDDKORBA) | TWDDKORBA |  |  | Milligram | MG
Tribal Welfare Development Department(Raipur-Collectorate)(TWDDRC) | TWDDRC |  |  | Milligram/liter | MGL
Tribal Welfare DevelopmentDepartment(Janjgir-Champa-Collectorate)(TWDDJCC) | TWDDJCC |  |  | Megohm | MGO
Urban Administration and Development Department (UADD) | UADD |  |  | Milligram /cubic meter | MGQ
Water Resources Department (WRD) | WRD |  |  | Megavolt | MHV
Zila Nirman Samiti Bijapur(ZNSB) | ZNSB |  |  | Mile | MI
Zila Panchayat Dhamtari(ZPD) | ZPD |  |  | Square mile | MI2
Zila Panchayat Raipur(ZPR) | ZPR |  |  | Minute | MIN
|  |  |  | Microsecond | MIS
|  |  |  | Milliliter | ML
|  |  |  | ML/GM/KG | ML/GM/KG
|  |  |  | Milliliter/ Liter | ml/l
|  |  |  | Milliliter act.ingr. | MLI
|  |  |  | Millimeter | MM
|  |  |  | Square millimeter | MM2
|  |  |  | Cubic millimeter | MM3
|  |  |  | Meganewton | MN
|  |  |  | Millinewton/meter | MNM
|  |  |  | Months | MON
|  |  |  | Miles per gallon (UG) | MPG
|  |  |  | Millimol per liter | MPL
|  |  |  | Millipascal seconds | MPS
|  |  |  | Millisecond | MS
|  |  |  | Meter/second squared | MS2
|  |  |  | Microsiemens per centimeter | MSC
|  |  |  | METRIC TON | MT
|  |  |  | MTR | MTR
|  |  |  | Nanoampere | NA
|  |  |  | Nanometer | NAM
|  |  |  | Number Days | ND
|  |  |  | Kilonewton | NI
|  |  |  | Newton/meter | NM
|  |  |  | Newton/Square millimeter | NMM
|  |  |  | Number | NO
|  |  |  | Nanosecond | NS
|  |  |  | one RCC jaali tree guard | one RCC jaali tree guard
|  |  |  | one RCC jaali tree guard | one RCC jaali tree guard
|  |  |  | Ounce | OZ
|  |  |  | Points | P
|  |  |  | P.cmt | P.cmt
|  |  |  | P.cumt. | P.cumt.
|  |  |  | P.KG / P.LTR | P.KG / P.LTR
|  |  |  | PER KG | P.KG.
|  |  |  | P.Kit | P.Kit
|  |  |  | P.Km. | P.Km.
|  |  |  | P.mtr | P.mtr
|  |  |  | P.Pair | P.Pair
|  |  |  | P.Point | P.Point
|  |  |  | Per Running Meter Per Box | P.R.M.P.BOX
|  |  |  | p.sq.mtr | p.sq.mtr
|  |  |  | P/sq.Mt. | P/sq.Mt.
|  |  |  | Per 100 kw per set | P100KW
|  |  |  | Pair | PAA
|  |  |  | Pack | PAC
|  |  |  | pack | pack
|  |  |  | Package | Package
|  |  |  | Pad | PAD
|  |  |  | page | page
|  |  |  | Pair | Pair
|  |  |  | Pallet | PAL
|  |  |  | part | part
|  |  |  | Pascal second | PAS
|  |  |  | Per Patient | Patient
|  |  |  | PER BRIDGE | PB
|  |  |  | Per Bed | PB1
|  |  |  | Per Bale Per KM | PBPK
|  |  |  | Piece | PC
|  |  |  | Megavoltampere | PCT
|  |  |  | per cm height per letter | per cm height per letter
|  |  |  | per cm height per letter | per cm height per letter
|  |  |  | per day | per day
|  |  |  | PER BAG | PER BAG
|  |  |  | Per bale | Per bale
|  |  |  | per bar | per bar
|  |  |  | PER CANDIDATE | PER CANDIDATE
|  |  |  | Per Candidate Per Exam | Per Candidate Per Exam
|  |  |  | per conversation | per conversation
|  |  |  | per cubic centimeter | per cubic centimeter
|  |  |  | per day | per day
|  |  |  | Per Diem Rate | Per Diem Rate
|  |  |  | Per Doz | Per Doz
|  |  |  | Per Hour | Per Hour
|  |  |  | per HP | per HP
|  |  |  | PER HUNDRED PIECES | PER HUNDRED PIECES
|  |  |  | Per inch | Per inch
|  |  |  | PER ITEM | PER ITEM
|  |  |  | Per Kg | Per Kg
|  |  |  | PER KL | PER KL
|  |  |  | Per Km. | Per Km.
|  |  |  | PER KILOWATT | PER KW
|  |  |  | per letter | per letter
|  |  |  | Per Ltr | Per Ltr
|  |  |  | per month | per month
|  |  |  | Per MT | Per MT
|  |  |  | Per mtr | Per mtr
|  |  |  | Per Night | Per Night
|  |  |  | per nos | per nos
|  |  |  | Per packet | PER PACKET
|  |  |  | per page | per page
|  |  |  | PER PAGE | PER PAGE
|  |  |  | Per person | PER PERSON
|  |  |  | Per person per day | Per person per day
|  |  |  | PER PERSON PER DAY | PER PERSON PER DAY
|  |  |  | Per piece | PER PIECE
|  |  |  | Per Plants | Per Plants
|  |  |  | PER POLE | PER POLE
|  |  |  | PER POLICY | PER POLICY
|  |  |  | per pouch | per pouch
|  |  |  | per quintal | per quintal
|  |  |  | Per running feet | PER RUNNING FEET
|  |  |  | Per Set | Per Set
|  |  |  | PER SHEET | PER SHEET
|  |  |  | Per Sqr Km | Per Sqr Km
|  |  |  | Per square km | Per square km
|  |  |  | PER STICKER | PER STICKER
|  |  |  | Per Tanker | Per Tanker
|  |  |  | per test | per test
|  |  |  | Per thousand | PER THOUSAND
|  |  |  | per tonne | per tonne
|  |  |  | per tonne capacity | per tonne capacity
|  |  |  | per trip | per trip
|  |  |  | Per unit | PER UNIT
|  |  |  | per.mtr | per.mtr
|  |  |  | Per Advisory | PERADV
|  |  |  | percentage of DPR cost | percentage of DPR cost
|  |  |  | UNP1 | Percentage of Project Cost
|  |  |  | PER SQUARE FEET | PERSQF
|  |  |  | PER BOREHOLE | PH
|  |  |  | Per HP Per Set | PHPPS
|  |  |  | per Hactare - per year | PHPY
|  |  |  | 1/minute | PMI
|  |  |  | Per Machine Per Session | PMPS
|  |  |  | Pikofarad | PO
|  |  |  | percentage of DPR cost | PODPRC
|  |  |  | Point | Point
|  |  |  | Per Piece 500 ml bottle | PP500ML
|  |  |  | Parts per billion | PPB
|  |  |  | Per Page Cost | PPC
|  |  |  | Parts per million | PPM
|  |  |  | PER POINT | PPNT
|  |  |  | Per Pack Price | PPP
|  |  |  | Per Person Per Month | PPPM
|  |  |  | Per Person Per Month Per Shift | PPPMPS
|  |  |  | Per Patient | PPT
|  |  |  | Per Roll | PR
|  |  |  | Per Rig | PRG
|  |  |  | Print | Print
|  |  |  | PER UNIT PER MONTH | PRPM
|  |  |  | Number of persons | PRS
|  |  |  | Picosecond | PS
|  |  |  | Pound Per Sq inch | PSI
|  |  |  | COST PER SITE LOCATION/ PER DIGITAL MAP | PSLPDM
|  |  |  | Per Square Feet Per Month | PSQPM
|  |  |  | Pint, US liquid | PT
|  |  |  | Per Ton Per KM | PTPK
|  |  |  | Per Unit Per Month | PUPM
|  |  |  | PER UNIT PER YEAR | PUPYR
|  |  |  | Kilomol | QML
|  |  |  | QUINTAL | QNTL
|  |  |  | Quart, US liquid | QT
|  |  |  | QUARTER | qtr
|  |  |  | quintal | quintal
|  |  |  | Nanofarad | R-U
|  |  |  | R.M. | R.M.
|  |  |  | Millifarad | RF
|  |  |  | Gramm/cubic centimeter | RHO
|  |  |  | Rim | RIM
|  |  |  | Ream | RM
|  |  |  | Running Meter | Rmt
|  |  |  | RUNNING METRE | RMT
|  |  |  | Role | ROL
|  |  |  | Roll | Roll
|  |  |  | Roll | Roll_UD
|  |  |  | Rate Per Bale | RPB
|  |  |  | Set | Set
|  |  |  | SET | SET
|  |  |  | SHEET | SHEET
|  |  |  | SHQ | SHQ
|  |  |  | Span | Span
|  |  |  | Square feet | Sq.Ft
|  |  |  | Sq.mtr | Sq.mtr
|  |  |  | Square Meter | sqm
|  |  |  | SEAT | ST
|  |  |  | SYRUP | SYP
|  |  |  | TCS | TCS
|  |  |  | Thousand Hours | THR
|  |  |  | Tin | Tin
|  |  |  | Tonnes | TO
|  |  |  | Ton/Cubic meter | TOM
|  |  |  | US Ton | TON
|  |  |  | Tone | Tone
|  |  |  | Tonne | Tonne
|  |  |  | Thousand | TS
|  |  |  | TUBE | TUB
|  |  |  | Tube | Tube
|  |  |  | For each Test KIT | UN1
|  |  |  | Rate Per 1000 Pcs | UN1000
|  |  |  | For each PPE KIT | UN2
|  |  |  | For each (Unit) Quantity | UN3
|  |  |  | For each VTM Kit | UN4
|  |  |  | FOR EACH TEST | UN5
|  |  |  | For Each Kit | UN8
|  |  |  | UNIT | UNIT
|  |  |  | UNIT | UNIT1
|  |  |  | Percentage of Project Cost | UNP
|  |  |  | for each Vehicle | UNV
|  |  |  | USERS | USERS
|  |  |  | Voltampere | VA
|  |  |  | Vo mat. | VAL
|  |  |  | VIAL | VIA
|  |  |  | weeks | WK
|  |  |  | DEFAULT UNIT DESCRIPTION | XXX
|  |  |  | Yard | YD
|  |  |  | Square Yard | YD2
|  |  |  | Cubic yard | YD3
|  |  |  | Year | Year
|  |  |  | Years | YR
|  |  |  | Microampere | µA
|  |  |  | Microfarad | µF
|  |  |  | Microgram /liter | µGL
|  |  |  | Microgram /cubic meter | µGQ
|  |  |  | Microliter | µL
|  |  |  | Micrometer | µM